## Table 1
Table 1 Prelminary 2012 Load Impacts by Month (MW)
| Maximum Load Reduction from Programs Trigged | Load Reduction Highest Overall Load Reduction day | Programs Triggered on Highest Overall Load Reduction Day | Programs Triggered at any time during the month
June | 0 | 0 | none | none
July | 13.4 | 13.4 | PTR | PTR
August | 119.0711 | 65.3711 | ACSAVER, CBP-DA, PTR | ACSAVER,CBP,CPP,CPP-E, DBP,PTR
September | 103.0926 | 54.4 | ACSAVER, BIP,CBP,CPP-E,DBP | ACSAVER,BIP,CBP, CPP-D,CPP-E, DBP,PTR
October | 51.2 | 32.5 | ACSAVER,CPP, CBP-DA,DBP | ACSAVER,CBP,CPP-D

## Table 2
Table 2 Preliminary July Load Impacts by Event
Ave. Load Reduction CAISO report (MW)
Category | Program | Type of Program | Date | Temp F | Event Start | Event end | Enrolled | Participants | (event hours) | (1pm-6pm) | Load Reduction Settlements (MW) | Forecast | System Peak Hour | System Peak Load (kW)
Price-Responsive | PTR Res | DAY AHEAD | 2012-07-20 | 87 | 12 | 18 | 1218623 | 34165 | 13.3 | 15.5026 | 160.1081 | 25 | 17 | 3526.5434
Price-Responsive | PTR Com | DAY AHEAD | 2012-07-20 | 87 | 12 | 18 | 111805 | 322 | 0.1 | 0.06643 | 31.201 | 1.2 | 17 | 3526.5434

## Table 3
Table 3 Preliminary August Load Impacts by Event part 1
Ave. Load Reduction CAISO report (MW)
Category | Program | Type of Program | Date | Temp | Event Start | Event end | Enrolled | Participants | (event hours) | (1pm-6pm) | Load Reduction Settlement (MW) | Forecast (MW) | System Peak Hour | System Peak Load (kW)
Price-Responsive | ACSAVER | DAY OF | 2012-08-08 | 89 | 13 | 16 | 28500 | 28500 | 13.7 |  |  | 26 | 16 | 3988.5011
Monthly Nominated | CBP-DO | DAY OF | 2012-08-08 | 89 | 14 | 17 | 545 | 318 | 11.2 |  | 11.5376 | 11.7 | 16 | 3988.5011
Price-Responsive | CPP | DAY AHEAD | 2012-08-09 | 88 | 12 | 18 | 1181 | 1181 | 20.9 | 19.3035 |  | 13.6 | 17 | 3930.697
Monthly Nominated | CBP-DA | DAY AHEAD | 2012-08-09 | 88 | 14 | 17 | 136 | 79 | 9.3 |  | 9.4305 | 7.5 | 17 | 3930.697
Price-Responsive | PTR Res | DAY AHEAD | 2012-08-09 | 88 | 12 | 18 | 1218334 | 42165 | 26.1 | 27.6479 | 202.7793 | 12.6 | 17 | 3930.697
Price-Responsive | PTR Com | DAY AHEAD | 2012-08-09 | 88 | 12 | 18 | 111704 | 388 | 0.3 | 0.33195 | 27.3613 | 1.1 | 17 | 3930.697
Price-Responsive | ACSAVER | DAY OF | 2012-08-10 | 92 | 17 | 18 | 28500 | 28500 | 19.8 |  |  | 27 | 16 | 4111.7423
Monthly Nominated | CBP-DA | DAY AHEAD | 2012-08-10 | 92 | 15 | 18 | 136 | 79 | 9.5 |  | 9.5382 | 7.5 | 16 | 4111.7423
Price-Responsive | PTR Res | DAY AHEAD | 2012-08-10 | 92 | 12 | 18 | 1218037 | 44464 | 28.1 | 29.715 | 196.5826 | 12.2 | 16 | 4111.7423
Price-Responsive | PTR Com | DAY AHEAD | 2012-08-10 | 92 | 12 | 18 | 111682 | 403 | 7.9711 | 6.9457 | 37.5231 | 0.8 | 16 | 4111.7423
Price-Responsive | CPP | DAY AHEAD | 2012-08-11 | 91 | 12 | 18 | 1170 | 1170 | 12.3 | 11.7582 |  | 11.1 | 16 | 3701.2665
Price-Responsive | PTR Res | DAY AHEAD | 2012-08-11 | 91 | 12 | 18 | 1207881 | 45891 | 33.6 | 35.9407 | 231.136 | 12.9 | 16 | 3701.2665
Price-Responsive | PTR Com | DAY AHEAD | 2012-08-11 | 91 | 12 | 18 | 111288 | 424 | 0 | 0.022532 | 26.1517 | 0.8 | 16 | 3701.2665
Price-Responsive | ACSAVER | DAY OF | 2012-08-13 | 91 | 14 | 17 | 28502 | 28502 | 18.2 |  |  | 33 | 16 | 4266.0394
Monthly Nominated | CBP-DO | DAY OF | 2012-08-13 | 91 | 14 | 17 | 545 | 318 | 10.6 |  | 10.6366 | 11.7 | 16 | 4266.0394
Emergency Program | CPPE | DAY OF | 2012-08-13 | 91 | 14 | 18 | 4 | 4 | 1.5 |  |  | 2 | 16 | 4266.0394

## Table 4
Table 4 Preliminary August Load Impacts by Event part 2
Ave. Load Reduction CAISO report (MW)
Category | Program | Type of Program | Date | Temp | Event Start | Event end | Enrolled | Participants | (event hours) | (1pm-6pm) | Load Reduction Settlement (MW) | Forecast (MW) | System Peak Hour | System Peak Load (kW)
Price-Responsive | CPP | DAY AHEAD | 2012-08-14 | 88 | 12 | 18 | 1169 | 1169 | 27.1 | 25.4498 |  | 14 | 16 | 4135.5571
Price-Responsive | CBP-DA | DAY AHEAD | 2012-08-14 | 88 | 15 | 18 | 136 | 79 | 8.3 |  | 8.4698 | 9 | 16 | 4135.5571
Price-Responsive | DBP | DAY AHEAD | 2012-08-14 | 88 | 14 | 18 | 6 | 1 | 7.6 | 7.6 | 7.6 | 5 | 16 | 4135.5571
Price-Responsive | PTR Res | DAY AHEAD | 2012-08-14 | 88 | 12 | 18 | 1216871 | 47648 | 6.9 | 7.0872 | 239.8551 | 12.8 | 16 | 4135.5571
Price-Responsive | PTR Com | DAY AHEAD | 2012-08-14 | 88 | 12 | 18 | 111691 | 431 | 4.8 | 4.5119 | 29.7964 | 1.2 | 16 | 4135.5571
Price-Responsive | ACSAVER | DAY OF | 2012-08-17 | 94 | 14 | 17 | 28528 | 28528 | 20.6 |  |  | 19.25 | 15 | 4266.3043
Price-Responsive | CPP | DAY AHEAD | 2012-08-21 | 83 | 12 | 18 | 1166 | 1166 | 20 | 19.4517 |  | 16 | 16 | 3637.7127
Price-Responsive | PTR Res | DAY AHEAD | 2012-08-21 | 83 | 12 | 18 | 1217877 | 49856 | 10.02 | 11.3102 | 1002.8449 | 22.4 | 16 | 3637.7127
Price-Responsive | PTR Com | DAY AHEAD | 2012-08-21 | 83 | 12 | 18 | 111806 | 437 | 4.54 | 4.5084 | 61.9624 | 1.2 | 16 | 3637.7127
Price-Responsive | CPP | DAY AHEAD | 2012-08-30 | 90 | 12 | 18 | 1164 | 1164 | 20.3 | 19.4303 |  | 16 | 16 | 3962.4405

## Table 5
Table 5 Preliminary September Load Impacts by Event
Ave. Load Reduction CAISO report (MW)
Category | Program | Type of Program | Date | Temp | Event Start | Event end | Enrolled | Participants | (event hours) | (1pm-6pm) | Load Reduction Settlement (MW) | Forecast (MW) | System Peak Hour | System Peak Load (kW)
Price-Responsive | ACSAVER | DAY OF | 2012-09-13 | 81 | 15 | 18 | 27973 | 27973 | 12.8 |  |  | 16 | 17 | 3783.2786
Monthly Nominated Program | CBP-DO | DAY OF | 2012-09-13 | 81 | 15 | 18 | 545 | 321 | 10.5 |  | 10.7107 | 12.1 | 17 | 3783.2786
Price-Responsive | ACSAVER | DAY OF | 2012-09-14 | 109 | 14 | 17 | 27973 | 27973 | 21.5 |  |  | 16 | 17 | 4592.3132
Emergency Program | BIP A | DAY OF | 2012-09-14 | 109 | 14 | 17 | 11 | 11 | 1.2506 |  |  | 0.3 | 17 | 4592.3132
Monthly Nominated Program | CBP-DA | DAY AHEAD | 2012-09-14 | 109 | 15 | 18 | 136 | 78 | 5.8 |  | 5.9 | 12.1 | 17 | 4592.3132
Monthly Nominated Program | CBP-DO | DAY OF | 2012-09-14 | 109 | 15 | 18 | 545 | 321 | 9.9 |  | 10.1 | 9 | 17 | 4592.3132
Emergency Program | CPPE | DAY OF | 2012-09-14 | 109 | 14 | 17 | 4 | 4 | 1.442 |  |  | 1.6 | 17 | 4592.3132
Price-Responsive | DBP | DAY AHEAD | 2012-09-14 | 109 | 14 | 18 | 6 | 1 | 9.1 | 9.1 | 9.1 | 5 | 17 | 4592.3132
Price-Responsive | ACSAVER | DAY OF | 2012-09-15 | 104 | 14 | 17 | 27973 | 27973 | 3.1 |  |  | 9 | 16 | 4313.2058
Price-Responsive | CPP | DAY AHEAD | 2012-09-15 | 104 | 12 | 18 | 1147 | 1147 | 5.5 | 4.6841 |  | 11.1 | 16 | 4313.2058
Price-Responsive | PTR Res | DAY AHEAD | 2012-09-15 | 104 | 12 | 18 | 1217877 | 52686 | 45.8 | 48.0163 | 297.5633 | 32.3 | 16 | 4313.2058
Price-Responsive | PTR Com | DAY AHEAD | 2012-09-15 | 104 | 12 | 18 | 111806 | 440 | 0 | 0 | 32.8314 | 0.9 | 16 | 4313.2058
Monthly Nominated | CBP-DA | DAY AHEAD | 2012-09-17 | 84 | 15 | 18 | 136 | 78 | 8 |  | 8.3564 | 9 | 17 | 3681.0905

## Table 6
Table 6 Preliminary October Load Impacts by Event
Ave. Load Reduction CAISO report (MW)
Category | Program | Type of Program | Date | Temp | Event Start | Event end | Enrolled | Participants | (event hours) | (1pm-6pm) | Load Reduction Settlement (MW) | Forecast (MW) | System Peak Hour | System Peak Load (kW)
Price-Responsive | ACSAVER | DAY OF | 2012-10-01 | 92 | 15 | 18 | 16231 | 16231 | 9.2 |  |  | 15 | 17 | 4155.5327
Monthly Nominated Program | CBP-DA | DAY AHEAD | 2012-10-01 | 92 | 15 | 18 | 136 | 78 | 7 |  | 7.3 | 12.1 | 17 | 4155.5327
Monthly Nominated Program | CBP-DO | DAY OF | 2012-10-01 | 92 | 15 | 18 | 545 | 323 | 9.5 |  | 9.5 | 9 | 17 | 4155.5327
Price-Responsive | CPP | DAY AHEAD | 2012-10-02 | 98 | 12 | 18 | 1133 | 1133 | 16.1 | 16.6869 |  | 16 | 16 | 4146.2583
Monthly Nominated Program | CBP-DA | DAY AHEAD | 2012-10-02 | 98 | 15 | 18 | 136 | 78 | 8 |  |  | 9 | 16 | 4146.2583
Price-Responsive | DBP | DAY AHEAD | 2012-10-02 | 98 | 15 | 18 | 6 | 1 | 8.4 |  | 8.4 | 5 | 16 | 4146.2583

## Table 7
Table 7 2012 RA Comparison
Month | Program | 2012 RA forecast (MW) | 2012 Load Impact Event Period (MW) | 2012 Load Impact 1 p.m. - 6 p.m. (MW) | RA forecast Maximum Temperature | 2012 Event Date Temperature
July | PTR Res | 70 | 13.3 | 15.5026 | 91 | 87
July | PTR Com |  | 0.1 | 0.06643 | 91 | 87
August | ACSAVER | 15 | 20.6 |  | 88 | 94
August | CBP-DA | 10 | 9.5 |  | 88 | 92
August | CBP-DO | 22 | 11.2 |  | 88 | 89
August | CPP-D | 12 | 27.1 | 25.4498 | 88 | 88
August | CPP-E |  | 1.5 |  | 88 | 91
August | DBP |  | 7.6 | 7.6 | 88 | 88
August | PTR Res | 69 | 33.6 | 35.9407 | 88 | 91
August | PTR Com |  | 7.9711 | 6.9457 | 88 | 92
September | ACSAVER | 17 | 21.5 |  | 96 | 109
September | BIP | 11 | 1.2506 |  | 96 | 109
September | CBP-DA | 10 | 8 |  | 96 | 84
September | CBP-DO | 23 | 10.5 |  | 96 | 81
September | CPP-D | 12 | 5.5 | 4.6841 | 96 | 104
September | CPP-E |  | 1.442 |  | 96 | 109
September | DBP |  | 9.1 | 9.1 | 96 | 109
September | PTR Res | 63 | 45.8 | 48.0163 | 96 | 104
September | PTR Com |  | 0 | 0 | 96 | 91
October | ACSAVER | 18 | 9.2 |  | 96 | 92
October | CBP-DA | 10 | 8 |  | 96 | 98
October | CBP-DO | 23 | 9.5 |  | 96 | 92
October | CPP-D | 14 | 16.1 | 16.6869 | 96 | 98
October | DBP |  | 8.4 |  | 96 | 98

## Table 8
Table 8 2012 Demand Response Events
Program | Type | Program Season | Available Annual Events/Hours | Available Monthly Events/Hours | Available Weekly Events/Hours | Available Daily Events/Hours | # of Events Triggered | Available Remaining | Trigger Criteria | Trigger Condition
Critical Peak Pricing-Default (CPP-D) | Day Ahead | Year Round | 18 Events | No Limit | No Limit | 1 Event | 7 Events | 11 Events | Temperature and system load | Met trigger criteria for all 7 events
[6 empty] | Always |  |  | *Monday: 86⁰; 3472 MW
[6 empty] | 7 Hours |  |  | *Tues-Fri: 84⁰; 3837 MW
[6 empty] | (11am-6pm) |  |  | *Saturday: 86⁰; 3837 MW
Capacity Bidding Program (CBP) | Day Ahead | May-Oct | No Limit | 44 Hours | No Limit | 1 Event | 7 Events |  | Price: | Mitigate potential price spikes and load forecast above 4000 MW
|  | Mon-Fri |  |  |  | Up to 8 Hours | Aug: 12 Hours (3 events) | Aug: 32 Hours | *Mon - Friday only
[6 empty] | (11am-7pm) | Sep: 8 Hours (2 events) | Sep: 36 Hours | *Market Price equal to or greater than 15,000 btu/kWh heat rate
[7 empty] | Oct: 8 Hours (2 events) | Oct: 36 Hours | *Other Statewide or local system conditions
Capacity Bidding Program (CBP) |  | May-Oct | No Limit | 44 Hours | No Limit | 1 Event | 5 Events |  | Price: | Mitigate potential price spikes and load forecast abolve 4000 MW and/or Real Time Load came in higher than Day Ahead forecast
| Day Of | Mon-Fri |  |  |  | Up to 8 Hours | Aug:7 Hours (2 events) | Aug: 37 Hours | *Mon - Friday only
[6 empty] | (11am-7pm) | Sep: 8 Hours (2 events) | Sep: 36 Hours | *Market Price equal to or greater than 15,000 btu/kWh heat rate
[7 empty] | Oct: 4 hours (1 event) | Oct: 40 Hours | *Other Statewide or local system conditions
Base Interruptibile Program (BIP) | Day Of - 30 minute | Year Round | 120 Hours | 10 Events |  | 1 Event | 1 Event | 116 Hours | CAISO forecasts a Stage 1 | 1 ComplianceTest
[6 empty] | Up to 4 Hours | 4 Hours |  | CAISO declares a Stage 2 | 2 Met trigger criteria
CAISO calls for interruptible load
Extreme weather or system demands or at SDGE discretion.
Summer Saver | Day Of | May-Oct | 15 Events | 40 Hours | 3 Events | 1 Event | 8 Events |  | Temperature and system load | Mitigate potential price spikes and load forecast abolve 4000 MW and/or Real Time Load came in higher than Day Ahead forecast
|  | Holidays Excluded | or |  |  | Noon to 8 pm | Aug: 15 Hours (4 events) | Aug: 25 Hours | *Monday - Friday: 3800 MW
|  |  | 120 Hours |  |  | Min 2/Max 4 Hours | Sep: 10 Hours (3 events) | Sep: 30 Hours | *Saturday - Sunday - Optional Participation
[7 empty] | Oct: 4 Hours (1 events) | Oct: 36 Hours | *CAISO Stage 1 or 2
[8 empty] | Annual 91 Hours | *Local or system emergency
Reduce Your Use | Day Ahead | Year Round | No Limit | No Limit | No Limit | 1 Event | 7 Events | No Limit | Temperature and system load | Met trigger criteria for all 7 events
[6 empty] | Always |  |  | *Monday: 86⁰; 3472 MW
[6 empty] | 7 Hours |  |  | *Tues-Fri: 84⁰; 3837 MW
[6 empty] | (11am-6pm) |  |  | *Saturday: 86⁰; 3837 MW
Critical Peak Pricing-Emergency (CPP-E) | Day Of | Year Round | 80 Hours | 40 Hours | 4 Events | 1 Event | 2 Events | 71 Hours | Local utility emergency with intent to avoid any firm load curtailment CAISO calls for interruptible load | Conditions warranted by Utility
Aug:1 Event (5 Hours)
Terminates Dec 31 | 30 minute | [5 empty] | Sep:1 Event (4 Hours)
Demand Bidding | Day Ahead | Jul - Dec | No Limit | No Limit | No Limit | No Limit | 3 Events | N/A | CAISO 1,2,or 3 Emergency | Conditions warranted by Utility
|  | 2012 only |  |  |  |  | 14 Hours |  | Transmission or imminent system emergency or as warranted by the utility
Flex Alerts in Effect | [6 empty] | 2013-08-10
2013-08-14
* Table 8 is a summary table. To see details, see Tables 1 through 7.

## Table 9
Table 9 Number of Events Monthly Nominated Programs
Category | Program | Year | Maximum Event Hours per year | Maximum Number of Events | Number of Event hours called | Number of Events Called
Monthly Nominated Program | CBP-Day Ahead | 2006 | 144 | none | 0 | 0
Monthly Nominated Program | CBP-Day Ahead | 2007 | 144 | none | 38 | 8
Monthly Nominated Program | CBP-Day Ahead | 2008 | 144 | none | 4 | 1
Monthly Nominated Program | CBP-Day Ahead | 2009 | 144 | none | 24 | 6
Monthly Nominated Program | CBP-Day Ahead | 2010 | 144 | none | 28 | 7
Monthly Nominated Program | CBP-Day Ahead | 2011 | 144 | none | 19 | 5
Monthly Nominated Program | CBP-Day Ahead | 2012 | 144 | none | 24 | 6
Monthly Nominated Program | CBP-Day Of | 2006 | 144 | none | 0 | 0
Monthly Nominated Program | CBP-Day Of | 2007 | 144 | none | 45 | 12
Monthly Nominated Program | CBP-Day Of | 2008 | 144 | none | 6 | 1
Monthly Nominated Program | CBP-Day Of | 2009 | 144 | none | 37 | 7
Monthly Nominated Program | CBP-Day Of | 2010 | 144 | none | 50 | 12
Monthly Nominated Program | CBP-Day Of | 2011 | 144 | none | 28 | 7
Monthly Nominated Program | CBP-Day Of | 2012 | 144 | none | 20 | 5

## Table 10
Table 10 Number of Events Emergency Programs
Category | Program | Year | Maximum Event Hours per year | Maximum Number of Events | Number of Event hours called | Number of Events Called
Emergency Program | BIP | 2006 | 120 | 10 per month | 2 | 1
Emergency Program | BIP | 2007 | 120 | 10 per month | 4 | 1
Emergency Program | BIP | 2008 | 120 | 10 per month | No events | 0
Emergency Program | BIP | 2009 | 120 | 10 per month | No events | 0
Emergency Program | BIP | 2010 | 120 | 10 per month | 4 | 1
Emergency Program | BIP | 2011 | 120 | 10 per month | 4 | 1
Emergency Program | BIP | 2012 | 120 | 10 per month | 4 | 1
Emergency Program | CPP-E | 2006 | 80 | none | 7 | 2
Emergency Program | CPP-E | 2007 | 80 | none | 14 | 3
Emergency Program | CPP-E | 2008 | 80 | none | No events | 0
Emergency Program | CPP-E | 2009 | 80 | none | No events | 0
Emergency Program | CPP-E | 2010 | 80 | none | No events | 0
Emergency Program | CPP-E | 2011 | 80 | none | No events
Emergency Program | CPP-E | 2012 | 80 | none | 9 | 2

## Table 11
Table 11 Number of Events Price Responsive Programs
Category | Program | Year | Maximum Event Hours per year | Maximum Number of Events | Number of Event hours called | Number of Events Called
Price-Responsive | CPP-D | 2006 | 98 | 12 per year | 70 | 10
Price-Responsive | CPP-D | 2007 | 98 | 12 per year | 63 | 9
Price-Responsive | CPP-D | 2008 | 126 | 18 per year | No events | 0
Price-Responsive | CPP-D | 2009 | 126 | 18 per year | 56 | 8
Price-Responsive | CPP-D | 2010 | 126 | 18 per year | 28 | 4
Price-Responsive | CPP-D | 2011 | 126 | 18 per year | 14 | 2
Price-Responsive | CPP-D | 2012 | 126 | 18 per year | 49 | 7
Price-Responsive | PTR | 2006 | Unlimited | none | No events | 0
Price-Responsive | PTR | 2007 | Unlimited | none | No events | 0
Price-Responsive | PTR | 2008 | Unlimited | none | No events | 0
Price-Responsive | PTR | 2009 | Unlimited | none | No events | 0
Price-Responsive | PTR | 2010 | Unlimited | none | No events | 0
Price-Responsive | PTR | 2011 | Unlimited | none | 32 | 5
Price-Responsive | PTR | 2012 | Unlimited | none | 49 | 7
Price-Responsive | Summer Saver | 2006 | 120 | 15 per year | 24 | 8
Price-Responsive | Summer Saver | 2007 | 120 | 15 per year | 43 | 12
Price-Responsive | Summer Saver | 2008 | 120 | 15 per year | 8 | 2
Price-Responsive | Summer Saver | 2009 | 120 | 15 per year | 30 | 7
Price-Responsive | Summer Saver | 2010 | 120 | 15 per year | 44 | 11
Price-Responsive | Summer Saver | 2011 | 120 | 15 per year | 22 | 6
Price-Responsive | Summer Saver | 2012 | 120 | 15 per year | 30 | 8
Price-Responsive | DBP | 2006 | Unlimited | none | 16 | 4
Price-Responsive | DBP | 2007 | Unlimited | none | 41 | 9
Price-Responsive | DBP | 2008 | Unlimited | none | The program was cancelled | 0
Price-Responsive | DBP | 2009 | Unlimited | none | The program was cancelled | 0
Price-Responsive | DBP | 2010 | Unlimited | none | The program was cancelled | 0
Price-Responsive | DBP | 2011 | Unlimited | none | The program was cancelled | 0
Price-Responsive | DBP | 2012 | Unlimited | none | 14 | 3

## Table 12
Table 12 – SDG&E’s Historical Peaker Plant Operational Hours
| Cuyamaca |  |  | El Cajon Energy Center |  | Miramar |  | Orange Grove
| Run Hours | Emission Allowance | Run Hours |  | Emission Allowance | Run Hours | Emission Allowance | Run Hours | Emission Allowance
2006 | [5 empty] | 200 | 5000
2007 | [5 empty] | 250 | 5000
2008 | 373 | N/A |  |  |  | 671 | 5000
2009 | 625 | N/A |  |  |  | 1919 | 5000
2010 | 481 | N/A | 438.9 |  | 2500 | 2946 | 5000
2011 | 667 | N/A | 432.8 |  | 2500 | 4306 | 5000
2012 | 1621 | N/A | 973.9 |  | 2500 | 4805 | 5000 | 2147.9 | 6400