## Table
ED Topic | SubProgram | ED Sub-Program ID | Measure Name | Action | Comment
ER | SW-AG-Calculated Incentives-Calculated | 18 | 462668-Lighting - Int. LF | Changed RUL to 1 year
ER | SW-AG-Calculated Incentives-Calculated | 18 | 462669-Chiller DB | Changed RUL to 6.67 years
ER | SW-COM-Calculated Incentives-Calculated | 10 | 462668-Lighting - Int. LF | Changed RUL to 1 year
ER | SW-COM-Calculated Incentives-Calculated | 10 | 462669-Chiller DB | Changed RUL to 6.67 years
ER | SW-IND-Calculated Incentives-Calculated | 16 | 462668-Lighting - Int. LF | Changed RUL to 1 year
ER | SW-IND-Calculated Incentives-Calculated | 16 | 462669-Chiller DB | Changed RUL to 6.67 years
EUS | SW-AG-Deemed Incentives | 19 | 402183-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=175 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr004 delta watts = 34W (code/std) | kwh=139.4, KW=0,therm=0
EUS | SW-AG-Deemed Incentives | 19 | 402184-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=250 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr005 delta watts = 87W (code/std) | kwh=356.7, KW=0,therm=0
EUS | SW-AG-Deemed Incentives | 19 | 402185-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=70 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr001 delta watts = 41W (code/std) | kwh=168.1, KW=0,therm=0
EUS | SW-AG-Deemed Incentives | 19 | 402186-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=750 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr005 delta watts = 87W (code/std) | kwh=356.7, KW=0,therm=0
EUS | SW-AG-Deemed Incentives | 19 | 402197-Lighting - Interior Linear Fluorescent Fixture <=128 watts replacing 101-175 Watts | No change | The values were correct per 7/1 workpaper - disposition delta watts value matched disposition at 73W (L-H51)
EUS | SW-AG-Deemed Incentives | 19 | 402198-Lighting - Interior Linear Fluorescent Fixture <=192 watts replacing 176-399 Watts | Values were corrected per 7/1 workpaper - disposition delta watts value matched disposition at 109W (L-H41) | Kwh=368.5, KW=.0908 & Therm=-1.168
EUS | SW-AG-Deemed Incentives | 19 | 402199-Lighting - Interior Linear Fluorescent Fixture <=244 watts replacing 400 Watts (Tier 1) | No change | Used DEER "Com-Lighting-InGen_MV-455w_PSMH-365w_T5-46in-234w" - code/std
EUS | SW-AG-Deemed Incentives | 19 | 402200-Lighting - Interior Linear Fluorescent Fixture <=600 watts replacing >=400 Watts (Tier 1) | No change | Used DEER "Com-Lighting-InGen_MV-780w_PSMH-456w_T5-46in-351w" - code/std
EUS | SW-AG-Deemed Incentives | 19 | 402201-Lighting - Interior Linear Fluorescent Fixture <=64 watts replacing <=100 Watts | Values were corrected per 7/1 workpaper - disposition delta watts value = 66W (L-H61) | Kwh=223.12751, KW=0.05498328 & Therm=-0.707348
EUS | SW-AG-Deemed Incentives | 19 | 402202-Lighting - Interior Linear Fluorescent Fixture 245-360 watts replacing 400 Watts (Tier 2) | Values were corrected per 7/1 workpaper - disposition delta watts value = 105W (L-H31) | kwh=354.97559, KW=0.0874734 & Therm=-1.125327
EUS | SW-AG-Deemed Incentives | 19 | 402207-Lighting - Interior Pulse Start/Ceramic Metal Halide Fixtures <=70 watts | Values were corrected per WPSDGENRLG0005-Rev01-Msr001 delta watts=49 | kwh=165.6597, kw=0.0408 & therm = -0.5252
EUS | SW-CALS – Residential HVAC-QI/QM | 7 | 420142-Quality Installation - SEER 14 | Moved activity to "420144-Quality Installation - SEER 15"
EUS | SW-COM Direct Install | 15 | 428086-1-FL, (4) 46in, T5HO lamp, (2) Programmed Start Ballast, (BF: 1.00), Lumens=19000, W/fixt=234 (Replace) | No change | Used "Com-Lighting-InGen_PSMH-365w_PSMH-365w_T5-46in-234w" - Code/Std
EUS | SW-COM Direct Install | 15 | 428087-1-FL, (6) 46in, T5HO lamp, (3) Programmed Start Ballast, (BF: 1.00), Lumens=28500, W/fixt=351 (Replace, code reference) | No change | Used "Com-Lighting-InGen_PSMH-456w_PSMH-456w_T5-46in-351w" - Code/Std
EUS | SW-COM Direct Install | 15 | 429086-2-FL, (4) 46in, T5HO lamp, (2) Programmed Start Ballast, (BF: 1.00), Lumens=19000, W/fixt=234 (Replace) | No change | Used "Com-Lighting-InGen_PSMH-365w_PSMH-365w_T5-46in-234w" - Code/Std
EUS | SW-COM Direct Install | 15 | 429087-2-FL, (6) 46in, T5HO lamp, (3) Programmed Start Ballast, (BF: 1.00), Lumens=28500, W/fixt=351 (Replace, code reference) | No change | Used "Com-Lighting-InGen_PSMH-456w_PSMH-456w_T5-46in-351w" - Code/Std
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402181-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=100 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr002 delta watts = 75W (code/std) | kwh=307.5, KW=0,therm=0
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402182-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=125 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr003 delta watts = 88W (code/std) | kwh=360.8, KW=0,therm=0
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402183-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=175 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr004 delta watts = 34W (code/std) | kwh=139.4, KW=0,therm=0
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402184-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=250 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr005 delta watts = 87W (code/std) | kwh=356.7, KW=0,therm=0
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402185-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=70 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr001 delta watts = 41W (code/std) | kwh=168.1, KW=0,therm=0
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402186-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=750 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr005 delta watts = 87W (code/std) | kwh=356.7, KW=0,therm=0
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402197-Lighting - Interior Linear Fluorescent Fixture <=128 watts replacing 101-175 Watts | No change | The values were correct per 7/1 workpaper - disposition delta watts value matched disposition at 73W (L-H51)
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402198-Lighting - Interior Linear Fluorescent Fixture <=192 watts replacing 176-399 Watts | Values were corrected per 7/1 workpaper - disposition delta watts value matched disposition at 109W (L-H41) | Kwh=368.5, KW=.0908 & Therm=-1.168
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402199-Lighting - Interior Linear Fluorescent Fixture <=244 watts replacing 400 Watts (Tier 1) | No change | Used DEER "Com-Lighting-InGen_MV-455w_PSMH-365w_T5-46in-234w" - code/std
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402200-Lighting - Interior Linear Fluorescent Fixture <=600 watts replacing >=400 Watts (Tier 1) | No change | Used DEER "Com-Lighting-InGen_MV-780w_PSMH-456w_T5-46in-351w" - code/std
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402201-Lighting - Interior Linear Fluorescent Fixture <=64 watts replacing <=100 Watts | Values were corrected per 7/1 workpaper - disposition delta watts value = 66W (L-H61) | Kwh=223.12751, KW=0.05498328 & Therm=-0.707348
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402202-Lighting - Interior Linear Fluorescent Fixture 245-360 watts replacing 400 Watts (Tier 2) | Values were corrected per 7/1 workpaper - disposition delta watts value = 105W (L-H31) | kwh=354.97559, KW=0.0874734 & Therm=-1.125327
EUS | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402207-Lighting - Interior Pulse Start/Ceramic Metal Halide Fixtures <=70 watts | Values were corrected per WPSDGENRLG0005-Rev01-Msr001 delta watts=49 | kwh=165.6597, kw=0.0408 & therm = -0.5252
EUS | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416172-Pkg AC <65k Single Phase SEER = 14.0-UP Stream | Consolidated to 416178-Pkg AC or HP <65k Single Phase SEER = 15.0 or 12.5 EER-UP Stream
EUS | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416176-Pkg AC <65k Three Phase SEER = 14.0-UP Stream | Consolidated to 416178-Pkg AC or HP <65k Single Phase SEER = 15.0 or 12.5 EER-UP Stream
EUS | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416177-Pkg AC <65k Three Phase SEER = 14.0-Rebate | Consolidated to 416179-Pkg AC or HP <65k Single Phase SEER = 15.0 or 12.5 EER-Rebate
EUS | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416195-Pkg HP <65k Single Phase SEER = 14.0-Rebate | Consolidated to 416179-Pkg AC or HP <65k Single Phase SEER = 15.0 or 12.5 EER-Rebate
EUS | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416198-Pkg HP <65k Three Phase SEER = 14.0-UP Stream | Consolidated to 416178-Pkg AC or HP <65k Single Phase SEER = 15.0 or 12.5 EER-UP Stream
EUS | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416330-Split AC <65k Single Phase SEER = 14.0-UP Stream | Consolidated to 416178-Pkg AC or HP <65k Single Phase SEER = 15.0 or 12.5 EER-UP Stream
EUS | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416331-Split AC <65k Single Phase SEER = 14.0-Rebate | Consolidated to 416179-Pkg AC or HP <65k Single Phase SEER = 15.0 or 12.5 EER-Rebate
EUS | SW-IND-Deemed Incentives | 17 | 402181-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=100 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr002 delta watts = 75W (code/std) | kwh=307.5, KW=0,therm=0
EUS | SW-IND-Deemed Incentives | 17 | 402183-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=175 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr004 delta watts = 34W (code/std) | kwh=139.4, KW=0,therm=0
EUS | SW-IND-Deemed Incentives | 17 | 402184-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=250 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr005 delta watts = 87W (code/std) | kwh=356.7, KW=0,therm=0
EUS | SW-IND-Deemed Incentives | 17 | 402185-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=70 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr001 delta watts = 41W (code/std) | kwh=168.1, KW=0,therm=0
EUS | SW-IND-Deemed Incentives | 17 | 402186-Lighting - Exterior Pulse Start/Ceramic Metal Halide Fixtures <=750 watts | Values were corrected per WPSDGENRLG0003-Rev04-Msr005 delta watts = 87W (code/std) | kwh=356.7, KW=0,therm=0
EUS | SW-IND-Deemed Incentives | 17 | 402197-Lighting - Interior Linear Fluorescent Fixture <=128 watts replacing 101-175 Watts | No change | The values were correct per 7/1 workpaper - disposition delta watts value matched disposition at 73W (L-H51)
EUS | SW-IND-Deemed Incentives | 17 | 402198-Lighting - Interior Linear Fluorescent Fixture <=192 watts replacing 176-399 Watts | Values were corrected per 7/1 workpaper - disposition delta watts value matched disposition at 109W (L-H41) | Kwh=368.5, KW=.0908 & Therm=-1.168
EUS | SW-IND-Deemed Incentives | 17 | 402199-Lighting - Interior Linear Fluorescent Fixture <=244 watts replacing 400 Watts (Tier 1) | No change | Used DEER "Com-Lighting-InGen_MV-455w_PSMH-365w_T5-46in-234w" - code/std
EUS | SW-IND-Deemed Incentives | 17 | 402200-Lighting - Interior Linear Fluorescent Fixture <=600 watts replacing >=400 Watts (Tier 1) | No change | Used DEER "Com-Lighting-InGen_MV-780w_PSMH-456w_T5-46in-351w" - code/std
EUS | SW-IND-Deemed Incentives | 17 | 402201-Lighting - Interior Linear Fluorescent Fixture <=64 watts replacing <=100 Watts | Values were corrected per 7/1 workpaper - disposition delta watts value = 66W (L-H61) | Kwh=223.12751, KW=0.05498328 & Therm=-0.707348
EUS | SW-IND-Deemed Incentives | 17 | 402202-Lighting - Interior Linear Fluorescent Fixture 245-360 watts replacing 400 Watts (Tier 2) | Values were corrected per 7/1 workpaper - disposition delta watts value = 105W (L-H31) | kwh=354.97559, KW=0.0874734 & Therm=-1.125327
EUS | SW-IND-Deemed Incentives | 17 | 402207-Lighting - Interior Pulse Start/Ceramic Metal Halide Fixtures <=70 watts | Values were corrected per WPSDGENRLG0005-Rev01-Msr001 delta watts=49 | kwh=165.6597, kw=0.0408 & therm = -0.5252
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421014-Faucet Aerator | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421015-Low Flow Showerheads | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421018-Int Energy Star Hardwire Fixture (30-36 Watt) | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421019-Ext Energy Star Hardwire Fixture (18 Watt) | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421023-Duct Test and Seal 1976-1994 | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421024-Duct Test and Seal 1995-2005 | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421025-AC Diagnostic, Repair and Tune-up 1976-1994 | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421026-AC Diagnostic, Repair and Tune-up 1995-2005 | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421028-Int. Energy Star CFL - 14 Watt | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421029-Int. Energy Star CFL - 23 Watt | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421030-Ext. Energy Star CFL - 13 Watt | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421031-Ext. Energy Star CFL - 23 Watt | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421034-255009-Interior Energy Star CFL Common 14 & 15 watt | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 421040-Int CF Fixture Common (30-36 Watts) - Energy Star | Changed NTG to 0.53
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 462281-Efficient Fan Control (EFC) No/AC | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | 3P-Res-Comprehensive Manufactured-Mobile Home | 22 | 462282-Efficient Fan Control (EFC) w/AC | Changed NTG to 0.55 | Many of these customers may be HTR by being outside of the metropolitan area but changed for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434001-M01:LED Night Light | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434002-M02: CFL, 14W lamp | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434004-M04: CFL, 23W lamp | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434005-M05: 18W CF Fixture | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434007-M07: Porch Light 18 Watt | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434008-M08: Torchiere Lamp | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434009-M09: R19-R38 Attic Insulation | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434010-M10: R11-R38 Attic Insulation | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434011-M11: R0-R38 Attic Insulation | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434012-M12: Knee Wall Insulation R19 | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434014-M13b: Duct Sealing w/AC(24% flow to 12%) | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434015-M13c: Duct Sealing No AC(40% flow to 12%) | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434016-M13d: Duct Sealing w/AC(40% flow to 12%) | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434017-M14a:Air Sealing No/AC | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434018-M14b:Air Sealing w/AC | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434019-M15: Faucet Aerators | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434020-M16: Low Flow SH - 1.5gpm | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434021-M17: Low Flow SH - 1.5gpm Hand held | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434023-M19: Thermostatic Valve | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434024-M20: Pipe Wrap | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434025-M16a: Low Flow SH w/ Adapter - 1.5gpm | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434027-M21: CAZ/CAS Test Per Appliance | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | Local-CALS - Middle Income Direct Install (MIDI) | 6 | 434031-M25: Vent Pipe Water Heater | Changed NTH to 0.55 | This program is part of EUCA and the customers may be HTR by income but changed values for this compliance exercise
NTG | SW-AG-Deemed Incentives | 19 | 402258-Lighting - Exterior LED Fixtures <=110 watts | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402259-Lighting - Exterior LED Fixtures <=192watts | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402260-Lighting - Exterior LED Fixtures <=350 watts | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402261-Lighting - Exterior LED Fixtures <=80 watts | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402266-Lighting - LED System <=15 watts Surface/Pendant/Recessed Down Lighting | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402269-Lighting - Linear LED Systems (T8 Basecase) | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402270-Lighting - Premium Tier 5' Case Door | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402271-Lighting - Premium Tier 6' Case Door | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402423-LED MR16 7 -10 watt Interior lamp | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402424-LED Integral PAR-20 lamp Up to 10 watt Interior | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402425-LED Integral PAR-30 lamp Up to 15 watt Interior | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402426-LED Integral PAR30 lamp 16-21watt | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402427-LED Integral PAR38 lamp Up to 16 watt | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402428-LED Integral PAR38 lamp 17-22 watt | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 402429-LED Integral PAR38 lamp 23-25 watt | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 461831-LED Integral Candelabra lamp Up to 4 watt | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 461832-LED Integral A-lamp Up to 7 watt Interior | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 461833-LED Integral A-lamp 8-10 watt Interior | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 461834-LED Integral A-lamp Up to 11 watt Interior | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 461835-LED Integral A-lamp 12-17 watt Interior | Changed NTG to 0.6
NTG | SW-AG-Deemed Incentives | 19 | 461836-LED Integral A-lamp 18-30 watt Interior | Changed NTG to 0.6
NTG | SW-CALS – Residential HVAC-QI/QM | 7 | 420138-Residential SF Condensor Coil Cleaning | Changed NTG to 0.55
NTG | SW-COM Direct Install | 15 | 429012-2-Straighten Condenser Coil Fins | Changed NTG to 0.60
NTG | SW-COM-Calculated Incentives-Savings by Design | 12 | 462680-Design Team & other Incentives | Changed NTG to 0.6 | Design Team Incentives are assigned to the customer
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402258-Lighting - Exterior LED Fixtures <=110 watts | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402259-Lighting - Exterior LED Fixtures <=192watts | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402260-Lighting - Exterior LED Fixtures <=350 watts | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402261-Lighting - Exterior LED Fixtures <=80 watts | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402266-Lighting - LED System <=15 watts Surface/Pendant/Recessed Down Lighting | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402269-Lighting - Linear LED Systems (T8 Basecase) | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402270-Lighting - Premium Tier 5' Case Door | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402271-Lighting - Premium Tier 6' Case Door | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402423-LED MR16 7 -10 watt Interior lamp | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402424-LED Integral PAR-20 lamp Up to 10 watt Interior | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402425-LED Integral PAR-30 lamp Up to 15 watt Interior | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402426-LED Integral PAR30 lamp 16-21watt | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402427-LED Integral PAR38 lamp Up to 16 watt | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402428-LED Integral PAR38 lamp 17-22 watt | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 402429-LED Integral PAR38 lamp 23-25 watt | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 461831-LED Integral Candelabra lamp Up to 4 watt | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 461832-LED Integral A-lamp Up to 7 watt Interior | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 461833-LED Integral A-lamp 8-10 watt Interior | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 461834-LED Integral A-lamp Up to 11 watt Interior | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 461835-LED Integral A-lamp 12-17 watt Interior | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-Commercial Rebates | 13 | 461836-LED Integral A-lamp 18-30 watt Interior | Changed NTG to 0.6
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416281-Packaged Terminal AC 7-15k ER-Rebate | Changed NTG value to 0.60
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416287-Packaged Terminal HP 7-15k ER-Rebate | Changed NTG value to 0.60
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416291-Comb Condenser Fan Coil-DI | Changed NTG value to 0.60 | These may be HTR customers but changed for this compliance exercise
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416381-Commercial Coil Cleaning Less than 3 tons - Incentive | Changed NTG value to 0.60 | These may be HTR customers but changed for this compliance exercise
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416382-Commercial Coil Cleaning 3 to 5 tons - Incentive | Changed NTG value to 0.60 | These may be HTR customers but changed for this compliance exercise
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416383-Commercial Coil Cleaning over 25 tons - Incentive | Changed NTG value to 0.60 | These may be HTR customers but changed for this compliance exercise
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416384-Commercial Condenser Coil Cleaning (Typical Unit) Savings Only | Changed NTG value to 0.60 | These may be HTR customers but changed for this compliance exercise
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416395-Commercial Coil Cleaning 6 to 25 tons - Incentive | Changed NTG value to 0.60 | These may be HTR customers but changed for this compliance exercise
NTG | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416404-Commercial Evaporator Coil Cleaning - Savings Only 2013 | Changed NTG value to 0.60 | These may be HTR customers but changed for this compliance exercise
NTG | SW-IND-Deemed Incentives | 17 | 402258-Lighting - Exterior LED Fixtures <=110 watts | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402259-Lighting - Exterior LED Fixtures <=192watts | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402260-Lighting - Exterior LED Fixtures <=350 watts | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402261-Lighting - Exterior LED Fixtures <=80 watts | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402266-Lighting - LED System <=15 watts Surface/Pendant/Recessed Down Lighting | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402269-Lighting - Linear LED Systems (T8 Basecase) | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402270-Lighting - Premium Tier 5' Case Door | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402271-Lighting - Premium Tier 6' Case Door | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402423-LED MR16 7 -10 watt Interior lamp | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402424-LED Integral PAR-20 lamp Up to 10 watt Interior | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402425-LED Integral PAR-30 lamp Up to 15 watt Interior | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402426-LED Integral PAR30 lamp 16-21watt | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402427-LED Integral PAR38 lamp Up to 16 watt | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402428-LED Integral PAR38 lamp 17-22 watt | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 402429-LED Integral PAR38 lamp 23-25 watt | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 461831-LED Integral Candelabra lamp Up to 4 watt | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 461832-LED Integral A-lamp Up to 7 watt Interior | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 461833-LED Integral A-lamp 8-10 watt Interior | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 461834-LED Integral A-lamp Up to 11 watt Interior | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 461835-LED Integral A-lamp 12-17 watt Interior | Changed NTG to 0.6
NTG | SW-IND-Deemed Incentives | 17 | 461836-LED Integral A-lamp 18-30 watt Interior | Changed NTG to 0.6
NTG | SW-Lighting-Primary Lighting | 20 | 446749-LED Screw-in PAR20 7 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 446751-LED Screw-in PAR20 9 watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 446761-LED Screw-in R30 11 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 446762-LED Screw-in R30 12 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 446764-LED Screw-in R30 14 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 446800-LED Screw-in PAR30 15 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 446813-LED Screw-in PAR38 17 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 461841-LED Screw-in PAR38 20 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 461845-LED Screw-in A-Lamp 12 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 461846-LED Recessed Downlight/Retrofit 9 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 461847-LED Recessed Downlight 10 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 461848-LED Recessed Downlight 11 Watt | Changed NTG to 0.55
NTG | SW-Lighting-Primary Lighting | 20 | 461850-LED Recessed Downlight 15 Watt | Changed NTG to 0.55
PC | SW-COM-Calculated Incentives-Savings by Design | 12 | 462680-Design Team & other Incentives | Set Measure the cost at the design team incentive value as discussed w/ED
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416381-Commercial Coil Cleaning Less than 3 tons - Incentive | Consolidated into 416384-Commercial Condenser Coil Cleaning (Typical Unit) Savings Only
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416382-Commercial Coil Cleaning 3 to 5 tons - Incentive | Consolidated into 416384-Commercial Condenser Coil Cleaning (Typical Unit) Savings Only
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416383-Commercial Coil Cleaning over 25 tons - Incentive | Consolidated into 416384-Commercial Condenser Coil Cleaning (Typical Unit) Savings Only
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416394-RCA Refr Chg Less than 3 tons-Incentive | Consolidated into 416409-RCA Inc Refr Chg - Savings Only
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416395-Commercial Coil Cleaning 6 to 25 tons - Incentive | Consolidated into 416384-Commercial Condenser Coil Cleaning (Typical Unit) Savings Only
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416396-RCA Refr Chg - 3 to 5 tons-Incentive | Consolidated into 416409-RCA Inc Refr Chg - Savings Only
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416397-RCA Refr Chg - 6 to 25 tons-Incentive | Consolidated into 416409-RCA Inc Refr Chg - Savings Only
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416398-RCA Refr Chg - over 25 tons-Incentive | Consolidated into 416409-RCA Inc Refr Chg - Savings Only
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416410-RCA Test Only Less than 3 tons - Incentive | Set Measure cost to rebate value as this may be treated as a fee
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416412-RCA Test Only 3 to 5 tons - Incentive | Set Measure cost to rebate value as this may be treated as a fee
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416414-RCA Test Only 6 to 25 tons - Incentive | Set Measure cost to rebate value as this may be treated as a fee
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 416416-RCA Test Only - Over 25 tons - Incentive | Set Measure cost to rebate value as this may be treated as a fee
PC | SW-COM-Deemed Incentives-HVAC Commercial | 14 | 461793-Customer Service and Maintenance Agreement Incentives | Set Measure the cost 2 times the rebate value as discussed w/ED