## Table
Aggregate Impacts
|  |  | Enrollment |  | 1176.67 | (at End of Month in Which Event Occurred)
|  |  | Effective Portfolio Enrollment |  | 872.53 | (at End of Month in Which Event Occurred)
Program: | DBP | Hour Ending | Estimated Reference Load | Observed Event Day Load | Estimated Load Impact | Weighted Average Temperature | Uncertainty Adjusted Impact (kWh/hr)- Percentiles
Month: | 2012-08-01
Weather Year: | 1-in-2 |  | (kWh/hour) | (kWh/hour) | (kWh/hour) | (°F) | 10th | 30th | 50th | 70th | 90th
Day Type: | Monthly Peak | 1 | 730389.721 | 724257.6756 | 6132.0454 | 70.0477 | -5846.8087 | 1863.214 | 6132.0454 | 10870.6352 | 17907.3519
LCA: | All | 2 | 707295.6996 | 702214.8342 | 5080.8655 | 64.8018 | -6684.2957 | 888.4209 | 5080.8655 | 9719.9374 | 16647.3591
Size: | All | 3 | 699074.196 | 694349.4209 | 4724.7751 | 63.5481 | -6904.6332 | 579.049 | 4724.7751 | 9314.4041 | 16185.887
Forecast Type: | Program Specific | 4 | 697934.1571 | 693351.5506 | 4582.6065 | 62.5437 | -6759.6738 | 531.3425 | 4582.6065 | 9064.9159 | 15775.8811
|  | 5 | 711393.724 | 714104.3914 | -2710.6673 | 62.0623 | -13639.1227 | -6675.3089 | -2710.6673 | 1667.0725 | 8106.6498
|  | 6 | 740933.521 | 747104.9196 | -6171.3986 | 61.135 | -16905.2917 | -10113.0165 | -6171.3986 | -1846.7864 | 4481.9205
|  | 7 | 786850.3239 | 790378.6723 | -3528.3484 | 60.7593 | -14666.1038 | -7602.1837 | -3528.3484 | 936.0829 | 7509.7886
|  | 8 | 822583.6546 | 829797.1521 | -7213.4975 | 63.199 | -18433.3865 | -11347.3755 | -7213.4975 | -2673.4258 | 3963.2602
|  | 9 | 865065.1903 | 874769.0393 | -9703.849 | 68.7976 | -21009.5406 | -13881.4114 | -9703.849 | -5122.3361 | 1586.8103
|  | 10 | 902618.9626 | 908294.6854 | -5675.7228 | 74.1045 | -17148.6301 | -9892.1906 | -5675.7228 | -1064.3829 | 5723.6874
|  | 11 | 935062.9068 | 937445.1198 | -2382.213 | 79.1979 | -14169.4424 | -6693.6182 | -2382.213 | 2337.6398 | 9286.3732
|  | 12 | 952408.1826 | 954863.7065 | -2455.5239 | 84.3813 | -14439.8227 | -6818.0316 | -2455.5239 | 2332.2145 | 9399.5372
|  | 13 | 954313.7854 | 944201.0378 | 10112.7476 | 88.2596 | -1850.8507 | 5828.3312 | 10112.7476 | 14813.2489 | 21834.6404
|  | 14 | 968537.7708 | 919499.0129 | 49038.7579 | 91.7836 | 36477.437 | 44461.9138 | 49038.7579 | 53926.5621 | 61287.6391
|  | 15 | 971087.5808 | 922694.9649 | 48392.6159 | 94.6426 | 35967.0047 | 43866.5296 | 48392.6159 | 53226.892 | 60509.1348
|  | 16 | 955456.2023 | 903596.1932 | 51860.009 | 95.7328 | 39408.1151 | 47317.0255 | 51860.009 | 56708.4697 | 64010.289
|  | 17 | 942204.2869 | 890556.3093 | 51647.9776 | 95.3776 | 39176.7308 | 47106.5384 | 51647.9776 | 56515.0815 | 63783.5856
|  | 18 | 901577.2832 | 856595.2605 | 44982.0227 | 93.6824 | 32628.3394 | 40483.746 | 44982.0227 | 49819.0192 | 57008.1069
|  | 19 | 863801.4997 | 842509.0367 | 21292.463 | 90.6581 | 9318.8336 | 16947.5921 | 21292.463 | 25997.9 | 33044.7714
|  | 20 | 836764.1648 | 828017.8337 | 8746.3312 | 84.5414 | -3099.2265 | 4419.3087 | 8746.3312 | 13422.1821 | 20441.1447
|  | 21 | 818608.4097 | 814019.5955 | 4588.8141 | 79.2568 | -7205.3424 | 378.7499 | 4588.8141 | 9238.3959 | 16184.1
|  | 22 | 795817.675 | 790816.806 | 5000.869 | 75.9333 | -6702.6941 | 813.4857 | 5000.869 | 9646.53 | 16546.3511
|  | 23 | 769915.2923 | 763160.2223 | 6755.07 | 73.0944 | -4896.2888 | 2585.9704 | 6755.07 | 11366.2773 | 18222.6492
|  | 24 | 749283.8582 | 743534.939 | 5748.9192 | 71.3478 | -5915.4387 | 1574.6567 | 5748.9192 | 10365.7661 | 17214.5192
|  |  | Reference Energy Use | Estimated Event Day Energy Use | Change in Energy Use | Cooling Degree Hours | Uncertainty Adjusted Change in Energy Use (kWh) - Percentiles
|  |  | (kWh) | (kWh) | (kWh) | (Base 75 °F) | 10th | 30th | 50th | 70th | 90th
|  |  | 20078978.0488 | 19790132.3794 | 288845.6694 | 153.4474 | 6699.8675 | 186622.738 | 288845.6694 | 400582.2958 | 566661.4375
0
Enrollments with non-zero impacts:
|  | 1176.6714 | Program Specific
|  | 872.5321 | Portfolio-Adjusted
Enrollments with zero impacts are not included in any reference loads or impacts

## Table_Avg
Average Impacts
|  |  | Enrollment |  | 1176.67 | (at End of Month in Which Event Occurred)
|  |  | Effective Portfolio Enrollment |  | 872.53 | (at End of Month in Which Event Occurred)
Program: | DBP | Hour Ending | Estimated Reference Load | Observed Event Day Load | Estimated Load Impact | Weighted Average Temperature | Uncertainty Adjusted Impact (kWh/hr)- Percentiles
Month: | 2012-08-01
Weather Year: | 1-in-2 |  | (kWh/hour) | (kWh/hour) | (kWh/hour) | (°F) | 10th | 30th | 50th | 70th | 90th
Day Type: | Monthly Peak | 1 | 620.7253 | 615.514 | 5.2113 | 70.0477 | -4.6186 | 1.189 | 5.2113 | 9.2337 | 15.0413
LCA: | All | 2 | 601.0987 | 596.7807 | 4.318 | 64.8018 | -5.3302 | 0.37003 | 4.318 | 8.266 | 13.9662
Size: | All | 3 | 594.1116 | 590.0963 | 4.0154 | 63.5481 | -5.5296 | 0.10964 | 4.0154 | 7.9211 | 13.5604
Forecast Type: | Program Specific | 4 | 593.1428 | 589.2482 | 3.8946 | 62.5437 | -5.425 | 0.081084 | 3.8946 | 7.708 | 13.2141
|  | 5 | 604.5815 | 606.8851 | -2.3037 | 62.0623 | -11.3447 | -6.0032 | -2.3037 | 1.3958 | 6.7374
|  | 6 | 629.686 | 634.9308 | -5.2448 | 61.135 | -14.1618 | -8.8936 | -5.2448 | -1.596 | 3.6722
|  | 7 | 668.7086 | 671.7072 | -2.9986 | 60.7593 | -12.2556 | -6.7865 | -2.9986 | 0.78932 | 6.2585
|  | 8 | 699.0768 | 705.2072 | -6.1304 | 63.199 | -15.4786 | -9.9556 | -6.1304 | -2.3052 | 3.2178
|  | 9 | 735.1799 | 743.4268 | -8.2469 | 68.7976 | -17.6764 | -12.1054 | -8.2469 | -4.3884 | 1.1827
|  | 10 | 767.0952 | 771.9187 | -4.8235 | 74.1045 | -14.3585 | -8.7251 | -4.8235 | -0.92193 | 4.7114
|  | 11 | 794.6678 | 796.6924 | -2.0245 | 79.1979 | -11.7874 | -6.0194 | -2.0245 | 1.9703 | 7.7383
|  | 12 | 809.4088 | 811.4956 | -2.0868 | 84.3813 | -12.0019 | -6.144 | -2.0868 | 1.9703 | 7.8282
|  | 13 | 811.0283 | 802.4339 | 8.5944 | 88.2596 | -1.1789 | 4.5952 | 8.5944 | 12.5935 | 18.3677
|  | 14 | 823.1166 | 781.4408 | 41.6758 | 91.7836 | 31.7176 | 37.601 | 41.6758 | 45.7507 | 51.6341
|  | 15 | 825.2836 | 784.1569 | 41.1267 | 94.6426 | 31.2748 | 37.0954 | 41.1267 | 45.158 | 50.9786
|  | 16 | 811.9992 | 767.9257 | 44.0735 | 95.7328 | 34.2381 | 40.0489 | 44.0735 | 48.098 | 53.9089
|  | 17 | 800.737 | 756.8437 | 43.8933 | 95.3776 | 34.0684 | 39.873 | 43.8933 | 47.9135 | 53.7182
|  | 18 | 766.2099 | 727.9817 | 38.2282 | 93.6824 | 28.4323 | 34.2198 | 38.2282 | 42.2366 | 48.0241
|  | 19 | 734.106 | 716.0105 | 18.0955 | 90.6581 | 8.3295 | 14.0993 | 18.0955 | 22.0917 | 27.8615
|  | 20 | 711.1281 | 703.695 | 7.4331 | 84.5414 | -2.3053 | 3.4482 | 7.4331 | 11.418 | 17.1715
|  | 21 | 695.6984 | 691.7986 | 3.8998 | 79.2568 | -5.7882 | -0.064419 | 3.8998 | 7.8641 | 13.5878
|  | 22 | 676.3296 | 672.0796 | 4.25 | 75.9333 | -5.3728 | 0.31244 | 4.25 | 8.1876 | 13.8728
|  | 23 | 654.3163 | 648.5755 | 5.7408 | 73.0944 | -3.8168 | 1.8299 | 5.7408 | 9.6518 | 15.2985
|  | 24 | 636.7826 | 631.8968 | 4.8857 | 71.3478 | -4.679 | 0.97193 | 4.8857 | 8.7996 | 14.4505
|  |  | Reference Energy Use | Estimated Event Day Energy Use | Change in Energy Use | Cooling Degree Hours | Uncertainty Adjusted Change in Energy Use (kWh) - Percentiles
|  |  | (kWh) | (kWh) | (kWh) | (Base 75 °F) | 10th | 30th | 50th | 70th | 90th
|  |  | 17064.2184 | 16818.7415 | 245.4769 | 153.4474 | 5.6939 | 158.6023 | 245.4769 | 340.4368 | 481.58
0
Enrollments with non-zero impacts:
1176.6714
872.5321
Enrollment number used to produce average impacts
1176.6714

## options (hidden)
Program >> | DBP | [6 empty] | Footnote for Enrollments = 0
Lookup >> | 01AUG121-in-2MonthlyPeakProgramSpecificAllAll | [6 empty] | There are zero enrollments forecasted for the current selections; no load impacts are estimated.
ProgramSpecific Lookup >> | 01AUG121-in-2MonthlyPeakProgramSpecificAllAll
PortfolioAdjusted Lookup >> | 01AUG121-in-2MonthlyPeakPortfolioAdjustedAllAll
| Month | Month | Year_Type | Day_Type *Depends on Program | LCA | Size | Forecast_Type
| 1 | 2012-01-01 | 1-in-2 | Monthly Peak | Greater Bay Area | All | Program Specific
| 2 | 2012-02-01 | 1-in-10 | Typical Event | Greater Fresno |  | Portfolio Adjusted
| 3 | 2012-03-01 |  |  | Humboldt
| 4 | 2012-04-01 |  |  | Kern
| 5 | 2012-05-01 |  | TOU and PLS | Northern Coast
| 6 | 2012-06-01 |  | Monthly Peak | Other
| 7 | 2012-07-01 |  | Average Weekday | Sierra
| 8 | 2012-08-01 |  |  | Stockton
| 9 | 2012-09-01 |  |  | All
| 10 | 2012-10-01 |  | Everything But TOU
| 11 | 2012-11-01 |  | Monthly Peak | Everything but PLS, SmartAC
| 12 | 2012-12-01 |  | Typical Event | Greater Bay Area
| 13 | 2013-01-01 |  |  | Greater Fresno
| 14 | 2013-02-01 |  |  | Humboldt
| 15 | 2013-03-01 |  | Res TOU | Kern
| 16 | 2013-04-01 |  | Monthly Peak | Northern Coast
| 17 | 2013-05-01 |  | Average Weekday | Other
| 18 | 2013-06-01 |  | Typical Event | Sierra
| 19 | 2013-07-01 |  |  | Stockton
| 20 | 2013-08-01 |  |  | All
| 21 | 2013-09-01
| 22 | 2013-10-01 |  |  | PLS
| 23 | 2013-11-01 |  |  | All
| 24 | 2013-12-01
| 25 | 2014-01-01
| 26 | 2014-02-01
| 27 | 2014-03-01
| 28 | 2014-04-01
| 29 | 2014-05-01
| 30 | 2014-06-01
| 31 | 2014-07-01
| 32 | 2014-08-01
| 33 | 2014-09-01
| 34 | 2014-10-01
| 35 | 2014-11-01
| 36 | 2014-12-01
| 37 | 2015-01-01
| 38 | 2015-02-01
| 39 | 2015-03-01
| 40 | 2015-04-01
| 41 | 2015-05-01
| 42 | 2015-06-01
| 43 | 2015-07-01
| 44 | 2015-08-01
| 45 | 2015-09-01
| 46 | 2015-10-01
| 47 | 2015-11-01
| 48 | 2015-12-01
| 49 | 2016-01-01
| 50 | 2016-02-01
| 51 | 2016-03-01
| 52 | 2016-04-01
| 53 | 2016-05-01
| 54 | 2016-06-01
| 55 | 2016-07-01
| 56 | 2016-08-01
| 57 | 2016-09-01
| 58 | 2016-10-01
| 59 | 2016-11-01
| 60 | 2016-12-01
| 61 | 2017-01-01
| 62 | 2017-02-01
| 63 | 2017-03-01
| 64 | 2017-04-01
| 65 | 2017-05-01
| 66 | 2017-06-01
| 67 | 2017-07-01
| 68 | 2017-08-01
| 69 | 2017-09-01
| 70 | 2017-10-01
| 71 | 2017-11-01
| 72 | 2017-12-01
| 73 | 2018-01-01
| 74 | 2018-02-01
| 75 | 2018-03-01
| 76 | 2018-04-01
| 77 | 2018-05-01
| 78 | 2018-06-01
| 79 | 2018-07-01
| 80 | 2018-08-01
| 81 | 2018-09-01
| 82 | 2018-10-01
| 83 | 2018-11-01
| 84 | 2018-12-01
| 85 | 2019-01-01
| 86 | 2019-02-01
| 87 | 2019-03-01
| 88 | 2019-04-01
| 89 | 2019-05-01
| 90 | 2019-06-01
| 91 | 2019-07-01
| 92 | 2019-08-01
| 93 | 2019-09-01
| 94 | 2019-10-01
| 95 | 2019-11-01
| 96 | 2019-12-01
| 97 | 2020-01-01
| 98 | 2020-02-01
| 99 | 2020-03-01
| 100 | 2020-04-01
| 101 | 2020-05-01
| 102 | 2020-06-01
| 103 | 2020-07-01
| 104 | 2020-08-01
| 105 | 2020-09-01
| 106 | 2020-10-01
| 107 | 2020-11-01
| 108 | 2020-12-01
| 109 | 2021-01-01
| 110 | 2021-02-01
| 111 | 2021-03-01
| 112 | 2021-04-01
| 113 | 2021-05-01
| 114 | 2021-06-01
| 115 | 2021-07-01
| 116 | 2021-08-01
| 117 | 2021-09-01
| 118 | 2021-10-01
| 119 | 2021-11-01
| 120 | 2021-12-01
| 121 | 2022-01-01
| 122 | 2022-02-01
| 123 | 2022-03-01
| 124 | 2022-04-01
| 125 | 2022-05-01
| 126 | 2022-06-01
| 127 | 2022-07-01
| 128 | 2022-08-01
| 129 | 2022-09-01
| 130 | 2022-10-01
| 131 | 2022-11-01
| 132 | 2022-12-01
Formulas:
Month = EDATE([Month, row above],1)