QUESTION 1:

Please provide aggregated total gas use data for each hour in 2015:

a) Gas demand identified as “currently dispatched operating EG load” in curtailment order “Step 2” on page 4 of A.15-06-020.

b) Gas demand identified as “Cogeneration and non-EG noncore usage” in curtailment order “Step 3” on page 4 of A.15-06-020.

Please provide this data in an Excel file.

RESPONSE 1:

- Please refer to the attached spreadsheet for aggregated hourly EG demand data for the SoCalGas and SDG&E system in 2015.  SoCalGas notes that there are several instances where hourly demand was recorded in excess of 200 MCFH; SoCalGas believes these data points to be errors in the SCADA data.

- Please refer to Response #2b to Indicated Shippers 4th data request in this proceeding, available at https://socalgas.com/regulatory/A15-06-020.shtml, which states: “SoCalGas and SDG&E do not collect hourly usage data for most of the noncore cogeneration and noncore non-cogeneration customer classes.”