## LED Lighting Costs
ProgramName | PGM_CD | FilingMeasureNumber | MSR_LF_TYP | FilingMeasureDescription | NTG | RUL | Life | Cost1 | cost/kWh | GR_SV_KWH | GR_SV_KW | GR_SV_Therm | GR_SV_KWH2 | GR_SV_KW2 | GR_SV_Therm2 | WPMeasureID | WPName | OldGR_SV_KWH | OldGR_SV_KW | OldGR_SV_Therm | OldGR_SV_KWH2 | OldGR_SV_KW2 | OldGR_SV_Therm2 | CUST_CST | MSR_LF | OldNTG | F18 | SHORT_MSR_DESC | MeasureName | EUL | EUL2 | MeasureCode | LgtTyp | DualBaseline | DeltaWatts | DeltaWatts2 | ControlledWattage | PTO | LightingType | IOU | BldgType | BldgVint | BldgLoc | EFLH | CDF | IE_kWh | IE_kW | IE_therm | BaseCost | MeasureCost | IMC | GR_KWH_SV_Dir | GR_KW_SV_Dir | GR_KWH_SV_Dir2 | GR_KW_SV_Dir2 | GR_THM_SV_Dir
SW-Primary Lighting | 3245 | 446749 | ROB | Res MR16(20W) | 0.85 | 16 |  | 15.07 |  | 8.5988 | 0.00085719 | -0.14469 |  |  |  | WPSDGENRLG0106-1R | [12 empty] | MR16(20W) | 16 | 16 |  | LE | n | 15.283 | 15.283 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 6.78 | 21.85 | 15.07 | 8.2681 | 0.00069691
SW-Primary Lighting | 3245 | 446750 | ROB | Res Globe(15W) | 0.85 | 16 |  | 17.33 |  | 7.2914 | 0.00072685 | -0.12269 |  |  |  | WPSDGENRLG0106-9R | [12 empty] | Globe(15W) | 16 | 16 |  | LE | n | 12.9592 | 12.9592 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 1.65 | 18.98 | 17.33 | 7.0109 | 0.00059094
SW-Primary Lighting | 3245 | 446751 | ROB | Res Globe(40W) | 0.85 | 16 |  | 37.08 |  | 17.9498 | 0.0017894 | -0.30204 |  |  |  | WPSDGENRLG0106-10R | [12 empty] | Globe(40W) | 16 | 16 |  | LE | n | 31.9028 | 31.9028 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 1.65 | 38.73 | 37.08 | 17.2594 | 0.0014548
SW-Primary Lighting | 3245 | 446759 | ROB | Res Candelabra | 0.85 | 16 |  | 13.99 |  | 12.1523 | 0.0012114 | -0.20449 |  |  |  | WPSDGENRLG0106-11R | [12 empty] | Candelabra | 16 | 16 |  | LE | n | 21.5986 | 21.5986 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 2.77 | 16.76 | 13.99 | 11.6849 | 0.0009849
SW-Primary Lighting | 3245 | 446760 | ROB | Res A-lamp(25W) | 0.85 | 16 |  | 16.65 |  | 10.3448 | 0.0010312 | -0.17407 |  |  |  | WPSDGENRLG0106-12R | [12 empty] | A-lamp(25W) | 16 | 16 |  | LE | n | 18.3862 | 18.3862 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 3.32 | 19.97 | 16.65 | 9.947 | 0.00083841
SW-Primary Lighting | 3245 | 446761 | ROB | Res A-lamp(35W) | 0.85 | 16 |  | 16.42 |  | 14.4828 | 0.0014437 | -0.2437 |  |  |  | WPSDGENRLG0106-13R | [12 empty] | A-lamp(35W) | 16 | 16 |  | LE | n | 25.7407 | 25.7407 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 3.55 | 19.97 | 16.42 | 13.9257 | 0.0011738
SW-Primary Lighting | 3245 | 446762 | ROB | Res A-lamp(40W) | 0.85 | 16 |  | 15.95 |  | 16.5517 | 0.00165 | -0.27851 |  |  |  | WPSDGENRLG0106-14R | [12 empty] | A-lamp(40W) | 16 | 16 |  | LE | n | 29.418 | 29.418 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 4.02 | 19.97 | 15.95 | 15.9151 | 0.0013415
SW-Primary Lighting | 3245 | 446763 | ROB | Res A-lamp(60W) | 0.85 | 16 |  | 20.86 |  | 24.8276 | 0.002475 | -0.41777 |  |  |  | WPSDGENRLG0106-15R | [12 empty] | A-lamp(60W) | 16 | 16 |  | LE | n | 44.127 | 44.127 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 4.61 | 25.47 | 20.86 | 23.8727 | 0.0020122
SW-Primary Lighting | 3245 | 446764 | ROB | Res A-lamp(100W) | 0.85 | 16 |  | 27.48 |  | 41.3793 | 0.004125 | -0.69629 |  |  |  | WPSDGENRLG0106-16R | [12 empty] | A-lamp(100W) | 16 | 16 |  | LE | n | 73.545 | 73.545 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 6.49 | 33.97 | 27.48 | 39.7878 | 0.0033537
SW-Primary Lighting | 3245 | 446772 | ROB | Res MR16(35W) | 0.85 | 16 |  | 21.31 |  | 15.048 | 0.0015001 | -0.25321 |  |  |  | WPSDGENRLG0106-2R | [12 empty] | MR16(35W) | 16 | 16 |  | LE | n | 26.7453 | 26.7453 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 6.59 | 27.9 | 21.31 | 14.4692 | 0.0012196
SW-Primary Lighting | 3245 | 446773 | ROB | Res PAR20(30-40W) | 0.85 | 16 |  | 24.44 |  | 15.5025 | 0.0015454 | -0.26086 |  |  |  | WPSDGENRLG0106-3R | [12 empty] | PAR20(30-40W) | 16 | 16 |  | LE | n | 27.5532 | 27.5532 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 9.53 | 33.97 | 24.44 | 14.9063 | 0.0012564
SW-Primary Lighting | 3245 | 446774 | ROB | Res PAR30(45-55W) | 0.85 | 16 |  | 35.25 |  | 21.134 | 0.0021068 | -0.35562 |  |  |  | WPSDGENRLG0106-4R | [12 empty] | PAR30(45-55W) | 16 | 16 |  | LE | n | 37.5622 | 37.5622 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 9.98 | 45.23 | 35.25 | 20.3211 | 0.0017128
SW-Primary Lighting | 3245 | 446775 | ROB | Res PAR30(60-70W) | 0.85 | 16 |  | 26.9 |  | 27.4742 | 0.0027388 | -0.46231 |  |  |  | WPSDGENRLG0106-5R | [12 empty] | PAR30(60-70W) | 16 | 16 |  | LE | n | 48.8308 | 48.8308 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 10.24 | 37.14 | 26.9 | 26.4175 | 0.0022267
SW-Primary Lighting | 3245 | 446776 | ROB | Res PAR38(50-65W) | 0.85 | 16 |  | 35.17 |  | 25.1264 | 0.0025048 | -0.4228 |  |  |  | WPSDGENRLG0106-6R | [12 empty] | PAR38(50-65W) | 16 | 16 |  | LE | n | 44.658 | 44.658 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 9.8 | 44.97 | 35.17 | 24.16 | 0.0020364
SW-Primary Lighting | 3245 | 446777 | ROB | Res PAR38(75W) | 0.85 | 16 |  | 36.38 |  | 32.7735 | 0.0032671 | -0.55148 |  |  |  | WPSDGENRLG0106-7R | [12 empty] | PAR38(75W) | 16 | 16 |  | LE | n | 58.2496 | 58.2496 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 9.6 | 45.98 | 36.38 | 31.513 | 0.0026562
SW-Primary Lighting | 3245 | 446785 | ROB | Res PAR38(90W) | 0.85 | 16 |  | 46.13 |  | 39.3283 | 0.0039205 | -0.66177 |  |  |  | WPSDGENRLG0106-8R | [12 empty] | PAR38(90W) | 16 | 16 |  | LE | n | 69.8995 | 69.8995 | 0 | 0 | Res-Indoor-CFL | SDG | Res | Ex | IOU | 541 | 0.0456 | 1.04 | 1.23 | -0.0175 | 9.86 | 55.99 | 46.13 | 37.8156 | 0.0031874
SW-Primary Lighting | 3245 | 446786 | ROB | Commercial MR16(20W) | 0.85 | 6.5147 |  | 15.07 | 0.28678 | 52.5491 | 0.011238 | -0.13231 |  |  |  | WPSDGENRLG0106-1 | [12 empty] | MR16(20W) | 6.5147 | 6.5147 |  | LE | n | 15.283 | 15.283 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 6.78 | 21.85 | 15.07 | 46.9189 | 0.0090628
SW-Primary Lighting | 3245 | 446787 | ROB | Commercial Globe(15W) | 0.85 | 4.886 |  | 17.33 | 0.38892 | 44.5589 | 0.0095291 | -0.11219 |  |  |  | WPSDGENRLG0106-9 | [12 empty] | Globe(15W) | 4.886 | 4.886 |  | LE | n | 12.9592 | 12.9592 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 1.65 | 18.98 | 17.33 | 39.7847 | 0.0076848
SW-Primary Lighting | 3245 | 446788 | ROB | Commercial Globe(40W) | 0.85 | 6.5147 |  | 37.08 | 0.33803 | 109.6947 | 0.023459 | -0.2762 |  |  |  | WPSDGENRLG0106-10 | [12 empty] | Globe(40W) | 6.5147 | 6.5147 |  | LE | n | 31.9028 | 31.9028 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 1.65 | 38.73 | 37.08 | 97.9417 | 0.018918
SW-Primary Lighting | 3245 | 446789 | ROB | Commercial Candelabra | 0.85 | 4.886 |  | 13.99 | 0.18838 | 74.2648 | 0.015882 | -0.18699 |  |  |  | WPSDGENRLG0106-11 | [12 empty] | Candelabra | 4.886 | 4.886 |  | LE | n | 21.5986 | 21.5986 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 2.77 | 16.76 | 13.99 | 66.3078 | 0.012808
SW-Primary Lighting | 3245 | 446790 | ROB | Commercial A-lamp(25W) | 0.85 | 6.5147 |  | 16.65 | 0.26337 | 63.2193 | 0.01352 | -0.15918 |  |  |  | WPSDGENRLG0106-12 | [12 empty] | A-lamp(25W) | 6.5147 | 6.5147 |  | LE | n | 18.3862 | 18.3862 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 3.32 | 19.97 | 16.65 | 56.4458 | 0.010903
SW-Primary Lighting | 3245 | 446798 | ROB | Commercial A-lamp(35W) | 0.85 | 6.5147 |  | 16.42 | 0.18552 | 88.507 | 0.018928 | -0.22285 |  |  |  | WPSDGENRLG0106-13 | [12 empty] | A-lamp(35W) | 6.5147 | 6.5147 |  | LE | n | 25.7407 | 25.7407 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 3.55 | 19.97 | 16.42 | 79.0241 | 0.015264
SW-Primary Lighting | 3245 | 446799 | ROB | Commercial A-lamp(40W) | 0.85 | 6.5147 |  | 15.95 | 0.15769 | 101.1508 | 0.021632 | -0.25468 |  |  |  | WPSDGENRLG0106-14 | [12 empty] | A-lamp(40W) | 6.5147 | 6.5147 |  | LE | n | 29.418 | 29.418 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 4.02 | 19.97 | 15.95 | 90.3132 | 0.017445
SW-Primary Lighting | 3245 | 446800 | ROB | Commercial A-lamp(60W) | 0.85 | 6.5147 |  | 20.86 | 0.13748 | 151.7262 | 0.032447 | -0.38202 |  |  |  | WPSDGENRLG0106-15 | [12 empty] | A-lamp(60W) | 6.5147 | 6.5147 |  | LE | n | 44.127 | 44.127 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 4.61 | 25.47 | 20.86 | 135.4698 | 0.026167
SW-Primary Lighting | 3245 | 446801 | ROB | Commercial A-lamp(100W) | 0.85 | 6.5147 |  | 27.48 | 0.10867 | 252.877 | 0.054079 | -0.63671 |  |  |  | WPSDGENRLG0106-16 | [12 empty] | A-lamp(100W) | 6.5147 | 6.5147 |  | LE | n | 73.545 | 73.545 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 6.49 | 33.97 | 27.48 | 225.7831 | 0.043612
SW-Primary Lighting | 3245 | 446802 | ROB | Commercial MR16(35W) | 0.85 | 6.5147 |  | 21.31 | 0.23173 | 91.961 | 0.019666 | -0.23154 |  |  |  | WPSDGENRLG0106-2 | [12 empty] | MR16(35W) | 6.5147 | 6.5147 |  | LE | n | 26.7453 | 26.7453 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 6.59 | 27.9 | 21.31 | 82.108 | 0.01586
SW-Primary Lighting | 3245 | 446803 | ROB | Commercial PAR20(30-40W) | 0.85 | 6.5147 |  | 24.44 | 0.25797 | 94.7389 | 0.02026 | -0.23854 |  |  |  | WPSDGENRLG0106-3 | [12 empty] | PAR20(30-40W) | 6.5147 | 6.5147 |  | LE | n | 27.5532 | 27.5532 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 9.53 | 33.97 | 24.44 | 84.5883 | 0.016339
SW-Primary Lighting | 3245 | 446811 | ROB | Commercial PAR30(45-55W) | 0.85 | 6.5147 |  | 35.25 | 0.27293 | 129.1538 | 0.02762 | -0.32519 |  |  |  | WPSDGENRLG0106-4 | [12 empty] | PAR30(45-55W) | 6.5147 | 6.5147 |  | LE | n | 37.5622 | 37.5622 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 9.98 | 45.23 | 35.25 | 115.3159 | 0.022274
SW-Primary Lighting | 3245 | 446812 | ROB | Commercial PAR30(60-70W) | 0.85 | 6.5147 |  | 26.9 | 0.16021 | 167.9 | 0.035906 | -0.42275 |  |  |  | WPSDGENRLG0106-5 | [12 empty] | PAR30(60-70W) | 6.5147 | 6.5147 |  | LE | n | 48.8308 | 48.8308 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 10.24 | 37.14 | 26.9 | 149.9107 | 0.028957
SW-Primary Lighting | 3245 | 446813 | ROB | Commercial PAR38(50-65W) | 0.85 | 6.5147 |  | 35.17 | 0.22904 | 153.5521 | 0.032838 | -0.38662 |  |  |  | WPSDGENRLG0106-6 | [12 empty] | PAR38(50-65W) | 6.5147 | 6.5147 |  | LE | n | 44.658 | 44.658 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 9.8 | 44.97 | 35.17 | 137.1001 | 0.026482
SW-Primary Lighting | 3245 | 446814 | ROB | Commercial PAR38(75W) | 0.85 | 6.5147 |  | 36.38 | 0.18164 | 200.2854 | 0.042832 | -0.50429 |  |  |  | WPSDGENRLG0106-7 | [12 empty] | PAR38(75W) | 6.5147 | 6.5147 |  | LE | n | 58.2496 | 58.2496 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 9.6 | 45.98 | 36.38 | 178.8262 | 0.034542
SW-Primary Lighting | 3245 | 446815 | ROB | Commercial PAR38(90W) | 0.85 | 6.5147 |  | 46.13 | 0.19193 | 240.3424 | 0.051398 | -0.60515 |  |  |  | WPSDGENRLG0106-8 | [12 empty] | PAR38(90W) | 6.5147 | 6.5147 |  | LE | n | 69.8995 | 69.8995 | 0 | 0 | Com-Indoor-CFL | SDG | Com | Ex | IOU | 3070 | 0.593 | 1.12 | 1.24 | -0.00282 | 9.86 | 55.99 | 46.13 | 214.5915 | 0.04145
0.22377
[8 empty] | Dual baseline full cost | 0.28015

## LED base to incremental Costs
MeasureName | WPMeasureID | MeasureCode | LgtTyp | DualBaseline | DeltaWatts | DeltaWatts2 | ControlledWattage | DEERMeasure | DEERMeasure2 | BaseCost | MeasureCost | IMC
MR16(20W) | WPSDGENRLG0106-1 |  | LED | n | 15.283 | 15.283 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 6.78 | 21.85 | 15.07 | 1.4499
MR16(35W) | WPSDGENRLG0106-2 |  | LED | n | 26.7453 | 26.7453 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 6.59 | 27.9 | 21.31 | 1.3092
PAR20(30-40W) | WPSDGENRLG0106-3 |  | LED | n | 27.5532 | 27.5532 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.53 | 33.97 | 24.44 | 1.3899
PAR30(45-55W) | WPSDGENRLG0106-4 |  | LED | n | 37.5622 | 37.5622 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.98 | 45.23 | 35.25 | 1.2831
PAR30(60-70W) | WPSDGENRLG0106-5 |  | LED | n | 48.8308 | 48.8308 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 10.24 | 37.14 | 26.9 | 1.3807
PAR38(50-65W) | WPSDGENRLG0106-6 |  | LED | n | 44.658 | 44.658 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.8 | 44.97 | 35.17 | 1.2786
PAR38(75W) | WPSDGENRLG0106-7 |  | LED | n | 58.2496 | 58.2496 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.6 | 45.98 | 36.38 | 1.2639
PAR38(90W) | WPSDGENRLG0106-8 |  | LED | n | 69.8995 | 69.8995 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.86 | 55.99 | 46.13 | 1.2137
Globe(15W) | WPSDGENRLG0106-9 |  | LED | n | 12.9592 | 12.9592 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 1.65 | 18.98 | 17.33 | 1.0952
Globe(40W) | WPSDGENRLG0106-10 |  | LED | n | 31.9028 | 31.9028 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 1.65 | 38.73 | 37.08 | 1.0445
Candelabra | WPSDGENRLG0106-11 |  | LED | n | 21.5986 | 21.5986 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 2.77 | 16.76 | 13.99 | 1.198
A-lamp(25W) | WPSDGENRLG0106-12 |  | LED | n | 18.3862 | 18.3862 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 3.32 | 19.97 | 16.65 | 1.1994
A-lamp(35W) | WPSDGENRLG0106-13 |  | LED | n | 25.7407 | 25.7407 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 3.55 | 19.97 | 16.42 | 1.2162
A-lamp(40W) | WPSDGENRLG0106-14 |  | LED | n | 29.418 | 29.418 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 4.02 | 19.97 | 15.95 | 1.252
A-lamp(60W) | WPSDGENRLG0106-15 |  | LED | n | 44.127 | 44.127 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 4.61 | 25.47 | 20.86 | 1.221
A-lamp(100W) | WPSDGENRLG0106-16 |  | LED | n | 73.545 | 73.545 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 6.49 | 33.97 | 27.48 | 1.2362
1.252

## Ext Induction
Measure Code | Measure Name & basecase Description | SDGE WeightedGross Peak kW reduction | SDGE Weighted Gross kWh / year savings | SDGE Weighted Gross Therm / year savings | EUL ( In years) | IMC | Cost/Kwh
L-D61 | Exterior Induction Fixture ≤70 Watt (up to 100 Watts lamp basecase) | 0 | 299.3 | 0 | 15 | 270 | 0.9021
L-D71 | Exterior Induction Fixture ≤100 Watt (101-175 Watts lamp basecase) | 0 | 430.5 | 0 | 15 | 270 | 0.62718
L-D81 | Exterior Induction Fixture ≤120 Watt (176-200 Watts lamp basecase) | 0 | 287 | 0 | 15 | 370 | 1.2892
L-D91 | Exterior Induction Fixture ≤180Watt (201-399 Watts lamp basecase) | 0 | 533 | 0 | 15 | 470 | 0.8818
L-D01 | Exterior Induction Fixture 400 Watt (≤250 Watts lamp basecase) | 0 | 852.8 | 0 | 15 | 570 | 0.66839
[7 empty] | 0.87373 | Average
Note on C1: Lucie Sandra Sidibe: No Demand Reduction Associated with this measure, due to Outdoor lighting load shape
Note on E1: Lucie Sandra Sidibe: N/A outdoor fixture only
Note on F1: Lucie Sandra Sidibe: Source : Updated DEER08 EUL Table
Note on G1: Lucie Sandra Sidibe: Source: PGE Workkpaper

## BID LED Fix Costs
Project # | Project Name | Measure | Final Cost | kWh Savings
4132 | Casino Pauma | LED Exterior | 75850 | 98375
3860 | Holiday San Diego-Downtown | LED Retrofit | 77384.23 | 103206
4141 | Hazard Center | LED Retrofit | 278750 | 358519
4130 | Casino Pauma | LED Interior / Exterior | 120515 | 476439
|  |  | 552499.23 | 1036539 | 0.53302

## BID Cost Summary
| Contract | Measure | Proposed kWh | Proposed Therms | Total Cost per invoice | Total incentive Paid | Cost | Incentive
HVAC-VFD | 09-02-014 | (VFDs)Central Plant Retrofit - Optimum Energy LOOP, retrofit 3 chillers with trane adaptaview chiller control panels, variable speed control plant retrofit | 947361 | 0 | 302811 | 109493.52 | 0.31964 |  | x
HVAC - Energy Management | 09-02-048 | Add EMS to 18 air handler and DX units | 65250 | 0 | 14959.17 | 7503.75 | 0.22926 |  | x
Motors | 07-03-301 | Install VFD on pool | 142875 | 0 | 21765.5 | 10745.03 | 0.15234
Misc Custom Electric | 10-01-011 | Central Plant Optimization | 2094237 | 0 | 345072 | 209423.7 | 0.16477
Misc Custom Electric | 10-01-011 | EMCS Optimization | 295353 | 404 | 306071 | 29939.3 | 1.0363
Misc Custom Electric | 10-01-011 | Loma Hall CHW Plant Retrofit | 1050647 | 0 | 969321 | 105064.7 | 0.92259
Misc Custom Electric | 10-01-011 | Kroc HVAC Ancillary Upgrade | 39728 | 0 | 94194 | 3972.8 | 2.371
Misc Custom Electric | 09-02-016 | Insulation of electric oven and oven element heat bar retrofit | 1515672 | 0 | 95908.98 | 94497 | 0.063278
Misc Custom Electric | 09-02-022 | Server Virtualization & Lab Monitors | 2138807 | 0 | 1455174.7 | 213880.7 | 0.68037
|  |  | 7134444 |  | 3265741.68 |  | 0.45774 |  | x
HVAC - Chiller | 10-01-017 | Harrah Rincon | 2111406 |  | 3542278 |  | 1.6777
HVAC - Chiller | 09-02-005 | AT&T data center on Trade St | 2088043 |  | 166468 |  | 0.079724
HVAC - Chiller | 09-02-034 | NAVFAC | 1813208 |  | 719623 |  | 0.39688
HVAC - Chiller | 10-02-006 | One America Plaza | 361375.8 |  | 473715 |  | 1.3109
HVAC - Chiller | 09-03-054 | commuter terminal | 677402 |  | 323671 |  | 0.47781
HVAC - Chiller | 09-02-045 | US Navy | 268490 |  | 629055 |  | 2.3429
|  |  | 7319924.8 |  | 5854810 |  | 0.79985 |  | x
HVAC - Non Conditioned Space Ventilation | 10-01-002 | Clear Blue Uptown District Shopping center garage ventilation fans controls | 126318 |  | 15040 |  | 0.11906
HVAC - Non Conditioned Space Ventilation | 10-01-005 | AC Energy | 423360 |  | 57240 |  | 0.1352
|  |  | 549678 |  | 72280 |  | 0.1315 |  | x
HVAC - Controls/Controlling Equipment | 09-04-004 | Scripps Research Institute | 2921060 |  | 1955796 |  | 0.66955
HVAC - Controls/Controlling Equipment |  | USD / Aircuity | 718292 |  | 396055 |  | 0.55138
|  |  | 3639352 |  | 2351851 |  | 0.64623 |  | x
Lighting - Exterior Lighting Fixtures |  | Various projects and DEER 2008 costs - see data file |  |  |  |  | 0.28 |  | x

## Custom GAS from SCG
Meas# | DB | Measure Name | Notes | TotMeasCostNET | GrossMeasureCost | NewTotCost | IMCFactor | IMC | RUL | Total Life | kWhSav2 | GasSav2 | KWSav2 | TotalQ | NewQ | Rebate | kWhSav | GasSav | KWSav | Factor
411021 | 100% | Gas - Boiler Upgrades |  |  | 0.8 | 1.3 | 25% | 0.325 | 5 | 15 | 0 | 0.3 | 0 | 588574.85 |  | 1 |  | 1 | 0 | 30%
442002 | 100% | Gas - Boiler Upgrades |  |  | 0.8 | 1.3 | 25% | 0.325 | 5 | 15 | 0 | 0.3 | 0 | 69244.1 |  | 1 |  | 1 | 0 | 30%
444004 | 100% | Gas - Boiler Upgrades |  |  | 0.8 | 1.3 | 25% | 0.325 | 5 | 15 | 0 | 0.3 | 0 | 34622.05 |  | 1 |  | 1 | 0 | 30%

## Summary PGE SCE_"SDGE" notes
IMC Factors
Prepared by: |  | Gay Powell, PG&E
Date: |  | 5/8/12
5/18/12 rev 1
6/5/12 rev 2
Present IMC as a % of Total Project Cost
Break down by End Use
[11 empty] | Mark Added | [10 empty] | Mark Added
|  |  | Enter Estimated Matl/Labor Split |  | Enter | Entered | SCE Data (4/24/12) | [5 empty] | ¦¦ | Calculate | Enter | Enter | Calculate | PG&E Data (5/1/12) | [9 empty] | ¦¦
|  |  | Labor | Material/ Equipment | IMC % of Equip Cost $ | IMC % of Total Cost | No of Projects | Sum of Project Cost | Sum of kW or Therms (for gas) | Sum of kWh | 1st Yr Cost | $IMC/kWh | ¦¦ | Labor | Material/ Equipment | IMC % of Equip Cost $ | IMC % of Total Cost | No of Projects | Sum of Project Cost | Sum of kW | Sum of kWh | 1st Yr Cost | Sum of Therms | $IMC/kWh | $IMC/Th | DEER Data |  | ¦¦ | 5/22/12 IMC/Tot Cost, % from DEER
[13 empty] | ¦¦ | [14 empty] | ¦¦
Lighting |  |  | 50% | 50% | 20% | 10% | [6 empty] | ¦¦ | 50% | 50% | 20% | 10% | [10 empty] | ¦¦
| Exterior |  | 50% | 50% | 20% | 10% | 564 | 15475518.9962 | 811.21 | 23395597.97 | 0.33074 | 0.066147 | ¦¦ | 50% | 50% | 20% | 10% | 324 | 4220946.27 | 300.96 | 10041233.6 | 0.21018 |  | 0.042036 |  |  |  | ¦¦
| Interior |  | 50% | 50% | 20% | 10% | 870 | 37010110.1918 | 15266.8805 | 88001701.195 | 0.21028 | 0.042056 | ¦¦ | 50% | 50% | 20% | 10% | 1236 | 24968769.15 | 7568.726 | 44342168.42 | 0.28155 |  | 0.056309 |  | #REF! | LF | ¦¦ | 10%
| Controls |  | 50% | 50% | 20% | 10% | 135 | 4503253.2795 | 1456.134 | 13648048.958 | 0.16498 | 0.032996 | ¦¦ | 50% | 50% | 20% | 10% | 252 | 2924529.83 | 451 | 6264920.1 | 0.23341 |  | 0.046681 |  |  |  | ¦¦
[13 empty] | ¦¦ |  |  |  |  | 1812 |  |  |  |  | Project weighted avg | 0.052418 |  |  |  | ¦¦
HVAC |  |  | 50% | 50% | 35% | 10% | [6 empty] | ¦¦ | 25% | 75% | 25% | 18.75% | [8 empty] | #REF! | pkg units | ¦¦ | 20%
| Retrofits |  | 50% | 50% | 35% | 10% | 295 | 41371867.2968 | 7319.4355 | 48863254.2474 | 0.42334 | 0.084669 | ¦¦ | 25% | 75% | 25% | 18.75% | 198 | 35399993.73 | 2744.08 | 22912843.4 | 1.1587 |  | 0.28968 |  |  |  | ¦¦
| Controls/EMS |  | 50% | 50% | 35% | 10% | 46 | 7949050.1422 | 2158.776 | 7484779.71 | 0.53101 | 0.1062 | ¦¦ | 25% | 75% | 25% | 18.75% | 335 | 8009972.37 | 1362 | 13393846.8 | 0.44853 |  | 0.11213 |  |  |  | ¦¦
[13 empty] | ¦¦ | [14 empty] | ¦¦
Chillers |  |  | 50% | 50% | 50% | 10% | [6 empty] | ¦¦ | 20% | 80% | 20% | 16% | [10 empty] | ¦¦ | 20%
| Replacements |  | 50% | 50% | 50% | 10% | 66 | 20333093.1377 | 2240.5958 | 12234009.6036 | 0.83101 | 0.1662 | ¦¦ | 20% | 80% | 20% | 16% | 42 | 32424740.49 | 1366.87 | 6665059.4 | 3.8919 |  | 0.77838 |  | #REF! |  | ¦¦
| VFD's |  | 50% | 50% | 50% | 10% | 20 | 4416086.6849 | 632.574 | 5058721.17 | 0.43648 | 0.087297 | ¦¦ | 20% | 80% | 20% | 16% | 32 | 11087932.2 | 1843.58 | 8395025.4 | 1.0566 |  | 0.21132 |  |  |  | ¦¦
[13 empty] | ¦¦ | [14 empty] | ¦¦
Boilers |  |  | 50% | 50% | 40% | [7 empty] | ¦¦ | 50% | 50% | 40% | 20% | [10 empty] | ¦¦ | 20%
| Replacements |  | 50% | 50% | 40% | 10% | 1 | 20163 | 27.18 | 238451.4 | 0.042279 | 0.0084558 | ¦¦ | 50% | 50% | 40% | 20% | 40 | 11648996.16 | 3 | 39565 | 13.9473 | 417607.6 |  | 5.5789 |  |  | ¦¦
| Economizers |  | 50% | 50% | 40% | 10% | 0 | 0 | 0 | 0 |  | 0 | ¦¦ | 50% | 50% | 40% | 20% | [10 empty] | ¦¦
[6 empty] | 10% | [6 empty] | ¦¦ | [14 empty] | ¦¦
Process |  |  | 50% | 50% | 50% | 10% | 282 | 83071829.894 | 16412.0085 | 132325324.443 | 0.31389 | 0.062778 | ¦¦ | 50% | 50% | 50% | 25% | 202 | 72305396.9 | 5073.27 | 33429651.9 | 2.1229 | 17029541.56 | 0.54073 | 1.0615 |  |  | ¦¦ | 25%
[13 empty] | ¦¦ | [14 empty] | ¦¦
Refrigeration |  |  | 50% | 50% | 50% | 10% | [6 empty] | ¦¦ | 50% | 50% | 50% | 25% | [10 empty] | ¦¦ | 25%
| New Cases |  | 50% | 50% | 50% | 10% | [6 empty] | ¦¦ | 50% | 50% | 50% | 25% | 67 | 3029687.69 | 100.47 | 1214529.4 | 1.2473 |  | 0.62363 |  |  |  | ¦¦
| Replace/Upgrade Doors |  | 50% | 50% | 50% | 10% | [6 empty] | ¦¦ | 50% | 50% | 50% | 25% | 17 | 578871.92 | 107 | 667466.3 | 0.43363 |  | 0.21682 |  |  |  | ¦¦
| Retrofits |  | 50% | 50% | 50% | 10% | 278 | 4203232.5904 | 363.492 | 3293566.4403 | 0.6381 | 0.12762 | ¦¦ |  | 50% | 50% | 25% | 70 | 5374034.33 | 1341 | 9971578.4 | 0.26947 |  | 0.13473 |  |  |  | ¦¦
| Controls/EMS |  | 50% | 50% | 50% | 10% | 83 | 3944905.0074 | 655.731 | 9862554.087 | 0.19999 | 0.039999 | ¦¦ |  | 50% | 50% | 25% | 43 | 2333968.26 | 481 | 7693164.4 | 0.15169 |  | 0.075846 |  |  |  | ¦¦
[13 empty] | ¦¦ | [14 empty] | ¦¦
Commissioning |  |  | 50% | 50% | [8 empty] | ¦¦ | 50% | 50% | [12 empty] | ¦¦
| Commercial |  | 50% | 50% | [8 empty] | ¦¦ | 50% | 50% | [12 empty] | ¦¦
| Industrial (Ag) |  | 50% | 50% | [8 empty] | ¦¦ | 50% | 50% | [12 empty] | ¦¦
| Pumps |  | 50% | 50% | [8 empty] | ¦¦ | 50% | 50% | [12 empty] | ¦¦
[13 empty] | ¦¦ | [14 empty] | ¦¦
Motors | [5 empty] | 20% | 65 | 19320277.144 | 2220.741 | 17585497.08 | 1.0986 | 0.21973 | ¦¦ |  |  |  | 20% | 27 | 933034.5 | 40 | 280992.3 |  |  | 0.6641 |  |  |  | ¦¦
[13 empty] | ¦¦ | [14 empty] | ¦¦
Other | [5 empty] | 10% | 1220 | 59153986.6664 | 26954.0478 | 144972672.107 | 0.40804 | 0.040804 | ¦¦ | [14 empty] | ¦¦
[13 empty] | ¦¦ | [14 empty] | ¦¦
Add categories as needed (each IOU) | [12 empty] | ¦¦ | [14 empty] | ¦¦
[17 empty] | Total | 2885 | 84.9%
[6 empty] | Total | 2356 | 67.57% | [5 empty] | Labor Materials split from DEER data