## Sheet1
FAQ
| Question | Response
1 | Table 1 in the ‘Energy Storage-Hybrid Resource Protocol Document’ references an RA Only PPA being an acceptable submission – can you confirm that you will allow proposals for only the Resource Adequacy attributes from bid projects and not require all project attributes to be proposed? | RA only PPA is an acceptable submission.
2 | In the paragraph around project requirements, the section "Be able to deliver at least 5 megawatt-hours of energy during each of these daily periods for every megawatt of incremental capacity claimed." I wanted to clarify whether we just need to be capable of delivering in those 5 hours? Or if we are required to deliver in those hours? | The resource must be capable to deliver and should be able to deliver during those hours when called upon.
3 | The Energy Storage/Hybrid Resource Project Description Form includes references to an “ESSPPTA” option (which I assume to be Power Purchase Tolling Agreement); however the protocol document only references the “ESSPPA” option with no mention of an “ESSPPTA” option. Can these assumed to be interchangeable, and would they both make use of the Energy Storage Power Purchase Agreement pro forma? | Both are interchangeable and will make use of the pro forma.
4 | The project description form also states “projects must interconnect within SDG&E’s local sub-area”, however the protocol document states only that projects must be located interconnected within the CAISO with a preference for projects in the San Diego-IV local area. Can you clarify which of these requirements is accurate for proposals? | For energy storage/hybrid project, please refer to the protocol, the requirement would be that projects must be located interconnected within the CAISO with a preference for projects in the San Diego-IV local area.
5 | If we are submitting an PPA (not EPC or BOT) proposal. Will there be more documents posted to PowerAdvocate or is everything we need on the SDG&E RFO page (https://www.sdge.com/2023-2026-irp-reliability-rfo)? | Everything you need for submitting offers are posted on the website.
6 | The RFO protocol says there is a limit of 6 offers per Respondent. Is that 6 offer variations per project or a limit of 6 projects that can be offered? | A limit of 6 projects can be offered for this solicitation.
7 | Section F. of the Project Information form says that the host utility should be SDG&E, please confirm if that's a typo as the protocol says that projects that interconnect to CAISO are eligible | Yes, that is a typo and updated Energy Storage/Hybrid Offer and Project Description Forms will be posted.
8 | Please confirm that SDG&E will follow CPUC Energy Division responses on two questions 1) Eligible resources 2.1. Is new storage added to existing natural gas plants eligible? ED- Yes and 2) 2.2. Could you confirm that the incremental storage must be contracted separately from the underlying gas generation asset, which the decision has deferred on their eligibility for IRP procurement compliance? The storage may be contracted separately or concurrently with the gas asset | SDG&E will follow Commission mandated requirements.
9 | Does SDG&E have a preference for RA only or tolling agreements for energy storage projects? | SDG&E will evaluate the offers based on least cost/best fit, using a discounted net market value cash flow analysis.
10 | Is there an opportunity for projects to be shortlisted early in advance of the deadline to submit a deliverability affidavit to CAISO (approx. first week of Dec)? | This depends on the schedule of the shortlist as well as the schedule to submit a deliverability affidavit to CAISO.
11 | How does the firm zero emitting resources fit into the 2025 requirements? | The firm zero emitting resources must come online by no later than 2025 and are inclusive to the procurement targets from 2023-2025.
12 | Is there a modified version of the pro forma Energy Storage System Power Purchase Agreement that we should use for RA Only? The version online only seems to be applicable for a full tolling agreement. | Please use the PPA as a template and provide redlines or consider the RA Confirm template if applicable to your specific needs.
13 | Please confirm that the definition of “minimum zero-emitting resources” on pages 3 and 10 of the “Energy Storage-Hybrid Resource Protocol Document” excludes all stand-alone battery energy storage systems (i.e. not hybrid) | Correct.
14 | Please clarify if the description of “Eligible Resources” on numeral 2) on page 10 of the above mentioned document is comprehensive. In other words, does the definition of “Eligible Resources” exclude any stand-alone battery energy storage system with a duration shorter than eight (8) hours? If the answer is no, please explain what requirements a stand-alone battery energy storage systems with duration shorter than eight (8) hours must meet in order to qualify for this RFO. | Stand-alone battery energy storage systems with duration shorter than eight (8) hours would qualify under this RFO for the "any other type of non-fossil fueled resource" category in Table 2: SDG&E Specific Total Minimum Mid-Term Procurement Requirements (in NQC MW). The requirements would follow those under the Eligibility Requirements section of the Protocol.
15 | Where do we include the pricing and quantity information associated with our RA-only offer? | Please enter the pricing and quantity information into the ESSPPA Pricing tab of the Energy Storage Offer Form.
16 | If respondent is planning on submitting a RA-only offer, is the respondent allowed to make edits to the RA confirm template as needed? | Yes, comments would be encouraged.
17 | Does respondent need to submit a credit application if they are not seeking unsecured credit? | No, the credit application is necessary if requesting a credit line.
18 | Will SDG&E consider evidence of a first-in line, serialized SF-299 application with the BLM as a form of Site Control? | Yes, this would be considered when evaluating the site control requirement.
19 | For either tolling agreements or RA only offers, is SDG&E requiring the initial delivery date (IDD) to be the start of the first month for which the resource can be included in a supply plan? Ex. Are projects proposing an IDD of August 1, 2023 implicitly required to achieve COD before ~June 15, 2023. Or is it acceptable for the project to achieve COD by 8/1/23 with the understanding that RA deliveries will start with the month of October 2023? Please clarify if the COD requirement is the same for tolling and RA only offers. | SDG&E is assuming that the COD is when the resource will deliver the contracted product. For your example, RA deliveries will have to start on August 1, 2023. The OD requirement is the same for tolling and RA only offers.
20 | The energy storage/hybrid resource pro forma does not contain terms applicable to the generator portion. Would projects that qualify as zero-emitting (Diablo canyon replacement capacity) contract using both the ESSPPA and renewable PPA? Would these be consolidated into a single contract? | SDG&E will work with the counter party to combine applicable portions of the ESSPPA and renewable pro forma.