## Q-Batch_01.24_2020
Received 1/16/2020 - 1/24/2020 | Posted:
Question(s) Received | Response
"We received the message from the Utility Development Team that submitted projects are to assume an NTP date by October 1, 2020 in schedule build outs. Does this NTP apply only to projects with CODs in 2021 or for all CODs? I inquired with the Utility Development Team and was told to check with the IRP team directly on this for projects with in-service dates beyond August 2021. I would appreciate your help with this." | For ESSPPA projects, there are no requirements regarding NTP dates in the bid phase. For ESSEPC or ESSBOT projects, please confirm any NTP requirements with the Utility Development Team.
"I note that the Energy Storage Offer Form currently posted on the 2021-2023-irp-reliability-rfo website has been updated. Can you confirm that the only change was to tab 5, now titled “ESSPPA Pricing” the previous version title was “ESSPPTA Cap-Price”? I also see additional fields added to the Project Description tab for Hybrid resources." | Yes, we can confirm those were the only changes.
We missed the notice of intent and NDA deadline. Can we still submit a bid under ESSBOT? | Please contact UtilityDevelopmentTeam@sdge.com
For example, If we were to have a CCGT facility with a signed LGIA for 100 MW, but the facility only operates and uses 80 MW, never more. We would plan on amending the LGIA to include a new 20 MW storage facility in the same project and utilize the idle 20 MW from the already signed LGIA. Would this 20 MW storage facility be eligible for this IRP? | The capacity must be incremental to the baseline study and otherwise comply with the Energy Storage Protocol.
"For conventional existing resources that implement an incremental capacity increase we do not see how the PPTA is workable for just the incremental capacity alone. Is the intent to toll the entire resource? Alternatively, can the incremental capacity be offered via the Resource Adequacy Pro Forma Template only? " | The toll for the incremental capacity would require substantial modifications. No, SDG&E would not procure the non-incremental capacity under this RFO. Yes, the 20 MW incremental resource could bid RA capacity only under the Resource Adequacy Pro Forma Template.
Energy Storage/Hybrid Renewable Project. The energy storage offer workbooks do not contain provisions for including information about the renewable portion of the project. Should we include information (ie., hourly generation profile) about the renewable project in the Renewables Offer Workbook and also submit that, will SDGE be providing an updated workbook, or do we just submit the PVSyst files without providing workbook level information? | The Energy Storage protocols have recently been updated to accomodate some renewable information for hybrid bids. Please provide and explain how the renewable energy is used (ie to charge the battery or to deliver output directly to the grid). PVsyst files sholud be submitted for hybird projects involving PV.
ESPPA Project. Section 3.0 A 7&9 indicate that projects coming online by August 1, 2021 "must provide evidence of completed permitting” and “must include approved permits authorizing operation”. For projects that are currently in the CUP/EIR process, but will complete the process in time to be online by 08/01/21, what is the extent of the information you would like submitted? | Please provide a detailed explanation of the permit status.
Capacity Degradation. The offer form provides for capacity degradation over the term of the proposed contract. Do SDGE have a preference for a fixed amount of RA over the life of the contract or is SDGE indifferent to fixed capacity vs. degrading capacity? | Bidder to determine whether to offer fixed amount or degraded capacity.
"I’m writing with a follow-up question from the webinar a couple weeks ago. On that call, I asked whether SDG&E would consider creating a load-modifying demand response program sourced from a fleet of aggregated BTM energy storage systems. From what I recall, the answer was generally affirmative – that SDG&E would consider all programs as long as they provided their benefits on the required timeline. However, after reading through the DR RFP protocols, it seems like this approach is not accepted. SDG&E states on p. 4: “Pursuant to the newly adopted Cost Effectiveness Protocols which determined that the event-based Load Modifying Resource DR has no capacity value, only supply resources, as defined by the Commission, will be considered.” However, the 2020 RA filing guide states: “In D.14-03-026, DR programs were bifurcated into Supply Resources and Load Modifying Resources. No changes have yet been made in how Supply Resource DR and Load Modifying Resource DR are treated by the CPUC in the RA context.” Can SDG&E please provide a citation from a Commission Decision or order supporting SDG&E assertion that event-based, load-modifying DR has no capacity value? And further, can they advise on whether or not they will accept such programs for this solicitation? " | As indicated in the Demand Response protocol document, the DR resource must be a supply side resource, as defined in D.14-03-026 and DR resources must be dispatchable, either by CAISO or SDG&E. Please refer to this document for additional requirements for eligibility.
Slide 16 of the Bidders Conference Webinar shows the CPUC loading order. This includes gas-fired generation. The CPUC decision excluded new build gas-fired generation. Please confirm that new build gas-fired generation is not eligible. | New fossil-fired generation is not allowed on sites where no generation previously existed. However, expansion of fossil-fired generation is eligible.
The RFO Protocols state that a Phase 2 Results Study is required to participate in the solicitation. This would exclude a substantial number of CAISO Queue Cluster 12 projects that have received Phase 1 Reports and could meet a 2023 COD. These projects could meet that COD by entering into a letter agreement with SDGE T&D and the ISO to accelerate engineering and design of their interconnection facilities. In addition, excluding these projects also limits competition and potentially exposes the ratepayer to increased costs. Could SDGE please revise their RFO Protocol to allow QC12 projects with Phase 1 Reports to participate in the RFP? | A phase 2 study is not required to be conforming.
We have our phase 1 study results back for several projects but will not have phase 2 study results until November. Can we still submit a response for those projects that will receive their phase 2 this year? | Yes. Projects with phase 1 study results will be accepted. Please see the Evaluation Criteria section of the applicable offering for futher information on interconnection status.
"In a previous replies, you state capacity from storage resources should be dispatchable (unless bidder is bidding RA only). You also use the term “renewables firmed up by storage” . Furthermore, you note that a hybrid renewable project should use the Energy Storage Offer Form if bidder is selling storage capacity and related products. If you are selling renewables firmed up by storage, use the renewable PPA. Just to confirm terminology, is the difference between “dispatchable” and “renewables firmed up by storage” simply that with the former, we guarantee instantaneous MW delivery and with the latter, we guarantee an amount of MWh over a period of time (annual, monthly)? I should clarify that I realize the term “dispatchable” is discussed in detail in the pro forma, including the fact that to some degree, it means what we stipulate it to mean (e.g., by our filling in blanks on operating parameters). However, if you could still contrast it to the term “renewables firmed by storage”, would appreciate. " | """Renewable firmed up by storage"" means a fixed block of deliveries providing RA (ie 10MW each hour from 5:00pm-10:00pm). ""Dispatchable"" meaning called on to operate by CAISO or SDG&E."
Hello is there an SDGE supplier portal or do I just need to monitor the Doing Business with Us RFPs and RFQs page on the website? | The IRP RFO website will contain the updated infomration. It is recommended that bidders periodically check this website for updates.
Will SDG&E apply a quantitative or qualitative preference or penalty to behind-the-meter solar and/or behind-the-meter hybrid solar plus storage projects? | Please refer to the applicable RFO Protocol document(s) for information on Evaluation Criteria.
Is there a minimum or maximum number of generating facilities that can be associated with any single offer (e.g. in a portfolio of behind-the-meter projects)? | There is no minimum for aggregated BTM projects. Aggregated projects must bid for Energy Efficiency or Demand Response offerings.
Will SDG&E consider behind-the-meter solar and/or hybrid solar plus storage projects that are pre-CAISO/WDAT Phase II study? We have a pipeline of behind-the-meter projects that do not yet have an interconnection study that nevertheless would meet the RFO’s contemplated timeline of delivery 2021 to 2023. | Yes, projects which do not yet have a Phase II study completed are consdidered. Please see the Evaluation Criteria for additional information on interconnection status.
Will SDG&E consider behind-the-meter solar and/or hybrid solar plus storage projects that export? | Yes. Renewable and/or Energy Storage projects must be on a single site. All projects, including BTM solar, must be incremental programs and tarrifs, including NEM. Any aggregated projects must use either Demand Response or Energy Efficiency offerings
Will SDG&E consider behind-the-meter solar and/or hybrid solar plus storage projects that interconnect under Rule 21? | Yes. Renewable and/or Energy Storage projects must be on a single site. All projects, including BTM solar, must be incremental programs and tarrifs, including NEM. Any aggregated projects must use either Demand Response or Energy Efficiency offerings
Will SDG&E consider offers that consist of a single or multiple behind-the-meter hybrid solar plus storage projects? If so, which offer forms should be utilized for submission? | Yes. Renewable and/or Energy Storage projects must be on a single site. All projects, including BTM solar, must be incremental programs and tarrifs, including NEM. Any aggregated projects must use either Demand Response or Energy Efficiency offerings
Will SDG&E consider offers that consist of a single or multiple behind-the-meter solar projects? | Renewable and/or Energy Storage projects must be on a single site. All projects, including BTM solar, must be incremental programs and tarrifs, including NEM. Any aggregated projects must use either Demand Response or Energy Efficiency offerings
Are BESS bid submissions required to have a completed Phase 2 or is a Phase 1 acceptable? | Completion of Phase 1 is considered conforming. Please see Evaluatoin Criteria section of the ESS Protocol document for additional information on Interconnection Status.
Are projects that are going through the WDAT interconnection process in SCE and SDG&E eligible to participate in this SDG&E RFO? Would they be considered as pseudo-tied? Or is this RFO exclusively for projects interconnecting with CAISO? | For this RFO, projects using WDAT must be either new or existing Distribution Customers of SDG&E. SDG&E cannot provide Distribution service outside it's service terriotry.
Is the Credit Application required for PPA offer submissions? | Yes. All bidders are required to submit a completed Credit Application.

## Q-Batch_01.16.2020
Received 1/2/2020 - 1/15/2020 | Posted:
Question(s) Received | Response
We had a question about the e3 tab in the offer worksheet; are there any consulting companies available that might be able to help us interpret and better understand some of the inputs being asked for? | SDG&E does not have recommendations for consulting companies for the E3 tab.
I was wondering if the webinar from last Friday is going to be made available on the RFO solicitation website? | The presentation slides are currently available on the RFO soliication website. No audio recording was made of the presnetation.
In the webinar presentation it states that for a hybrid renewable project, bidders should use the Energy Storage offer form. Can SDG&E please confirm that a Hybrid renewable project would still use the Renewable PPA? 2. If so, is there additional language that would be applicable for the inclusion of energy storage? | A hybrid renewable project should use the Energy Storage Offer Form if bidder is selling storage capacity and related products. If you are selling renewables firmed up by storage, use the renewable PPA.
For purposes of the RFO, what is the practical difference between dispatchability and storage? It would seem the main reason storage is desired would be to enable dispatchability. | Capacity from storage resources should be dispatchable unless bidder is bidding RA only.
Although the pro forma PPA refers to capacity payments, the offer form does not appear to do so (e.g., appears to refer to pricing as $/MWh only). How do we proffer capacity prices and operating limitations if the Renewables Pro Forma is not to be submitted? | A hybrid renewable project should use the Energy Storage Offer Form if bidder is selling storage capacity and related products. If you are selling renewables firmed up by storage, use the renewable PPA.
The RFO states that if we are submitting for a renewable project, a redline of the pro forma PPA must be submitted. However, the 1/10/2020 presentation (page 30) shows the pro forma as “N/A” under the Renewable column? Reason for difference? | There appears to be an error in the slide presentation, please redline the renewable PPA.
Could you please clarify which questions should be submitted to this address vs. via the Power Advocates site? | It is preferable to have all questions submitted via the e-mail inbox, IRPReliabilityRFO@sdge.com
Will SDG&E be accepting offers (either in $/kW-mo or $/MWh) for all-in energy, capacity, and ancillary products through the ESSPPA, or solely for RA capacity payments in $/kW-mo? | SDG&E will be accepting offers with all of these products. See RFO protocol Evaluation Criteria for additional information.
No Credit Application document has been posted and we have been unable to locate it thus far. Please let us know if there is another location it has been posted or if it was emailed out. | The Credit Application is posted on the website at the bottom of the Documents section. The same Credit Application is used for all offerings.
If an ESS does not have a specific deep cycle limit, but does have a total throughput limit, how should this limit be expressed on the Operational Constraints tab? | Use 100% in the Deep Cycle Threshold field.
In response to an earlier question, you indicated that it would be acceptable to provide an offer for a 10 MW/30 MWh energy storage project. For a project with these power and energy capacities, what power capacity (MW) should be entered in cell D9 on the 4. Operational Constraints tab? (NOTE: This cell has a comment to "Enter the capacity in MW assuming a 4-hour discharge cycle"). For this same project, what values should be entered in Column D for Annual Contract Capacity (MW) on the 5. ESSUOG Cap-Price tab? Similarly, what values should be entered for a project that has a capacity of 10 MW/40 MWh for Year 1 and 10 MW/36 MWh for Year 5? | Please make sure all pertinent information is contained in your bid document. Please follow all comments included in the order form. For example, considering a 4 hour RA run time requirement, a 30MWh project would have a 7.5MW initial Annual Contract Capacity. Please indicate all expected degradation on the pricing form.
On Slide 30 of today’s Pre-Bid Conference, you show three forms that I do not see posted on the the RFO website: - Project Description Form - Electric Interconnection Information - Credit Application Will these be posted to the RFO Site soon? Are they available elsewhere? | The Project Descripiton Form is a worksheet contained withing the Offer Form. Interconnection information should be entered in the Project Descripton form. The Credit Application is posted on the website at the bottom of the Documents section.
Will an energy storage asset with an existing energy-only contract still be eligible to participate in the RA procurement or would the existing contract make the asset ineligible? | RA-only contracts are eligible. The asset would be required to conform to CPUC RA rules. The asset needs to be incremental to the list of baseline resources per D.19-04-040 (see https://www.cpuc.ca.gov/General.aspx?id=6442463413 for the baseline list).
Will SDGE be aiming to procure System, Local, Flex RA or all of these products from Demand Response bids submitted? Will SDGE be evaluating and compensating each of these products separately, or will you just be issuing one compensation stream for, e.g., System RA? | Each DR offer must contain a single RA product type. Bidder is free to structure pricing as desired.
Will you be posting the audio version of the pre bid conference to the website? | There was no recording made of the audio portion of the Bidders' Webinar. Questions from the Instant Messaging feature will be repeated in the FAQ posts.
In the webinar presentation, slides 21 and 22 state that project size for conventional, CHP, renewable, hybrid and energy storage projects is 10-300 MW. Can smaller distribution-connected projects be aggregated to meet the 10 MW minimum? Can 5 different 2 MW plants on different distribution circuits be aggregated to a 10 MW project for submission into this RFO? | Conventional, CHP, Renewable, Hybrid and Energy Storage offers must be on a single site. Aggregation is possible under the Demand Response and Energy Efficiency products.
Are the completed Phase II studies needed for a bidder to present an offer? Or is a Cluster 12 project with COD 2023 applicable? The question arises as in part 4 of the RFO you specify that a Phase II study is needed, however in part 3 -A-6 you indicate that expected deliverability and interconnection costs need to be demonstrated through a Phase I study report. | Phase I study will provide an estimate of interconnection costs and expected deliverability if Phase II is not complete. Phase II Study completion is not a requirement for conformance. Please see RFO Protocol Evaluation Criteria for additional information on Interconnection Status.
When will the Conditions Precedent in section 2.4.3 of the PPA be defined? Can the bidder suggest to include certain permits that are specific to this Project? | The Conditions Precedent in section 2.4.3 of the tolling PPA will be completed by parties during negotiations. A bidder can suggest and/or include project specific permits.
Is the Credit Application necessary to submit an offer? If so, why? | Yes. All bidders are required to submit a completed Credit Application.
For a project with a COD in 2023, does the maximum bid have to be 73.2 MW? (considering 50% in 2021 and 75% in 2022 --> 292.9-219.7=73.2) Or can it be more? | SDG&E intends to procure within the defined MW requirement established by the IRP decision. As such, project size should fit within the defined requirements.
Is SDG&E planning to procure more than the minimum of 292.9 MW as established in the IRP Procurement Track Decision? O will that be the minimum and maximum number as well. | Please see the the RFO Protocol documents for maximum project size for each prodcut offering. SDG&E intends to procure resources to comply with the IRP Procurement Track decision.
I am trying to access exhibits B-H, which are supposedly available in this poweradvocate portal. However, I cannot find them. Can you please point me towards them? | Please contact the Utility Development Team for all inquiries regarding BOT and EPC bids, UtilityDevelopmentTeam@sdge.com
For projects that will be entering the transmission interconnection queue, how should bids treat system upgrade costs that will not be known until completion of the process? Likewise with COD if interconnection is critical path? | For 2021 costs should be available from the phase 1 interconnections study, for 2022-2023, the contracts will contain a condition precedent addressing system upgrade costs.
Phased increase approach vs. fixed/firm offers – Can we submit an offer with a limited increased in 2021 with an option to step it up in 2022 or 2023 or should we submit these as separate offers? One for 2021 increase and a separate one for either 2022 or 2023 online date? | Phased CODs will be allowed and will be considered as one offer.
PPA Term. How should we submit offers under different term lengths, one offer with multiple terms/prices or separate offers each with a different term/price? | Each term length and each price structure is considered a unique offer.
PPA Term. For conventional gas, We see minimum of 3 years for conventional gas. With the minimum being 3 years, are you able to advise what term lengths beyond 3 years would be considered? Up to how many years 5, 7, 10, more? | All terms will be considered conforming. SDG&E intends to procure in close alignment with the requirements of the IRP Reliability Procurement Decision
It is not clear if by the offer submission date (February 7th), the facility needs to have a Phase II study Report completed, or if during the development of the project, further in the process, the project needs to obtain it. | There are no requirements on Interconnection Status for bid conformance. Please see RFO Protocol Evaluation Criteria for additional information on interconnection status.
We registered in Power Advocate and have access to the main site, however we cannot see the Event in our Dashboard, can you help? | After you have signed up to the PowerAdvocate platform, you must request access to the event. Please use the link to the event within the Protocols document.
Can you confirm that all documents for the 2021-2023 IRP Reliability RFO are posted on the RFO website (with the exception of the ESSBOT materials) and nothing is posted yet to Event 99625 : 2021-2023 IRP Reliability RFO on PowerAdvocate? | Confirmed. Documents for the 2021-2023 IRP Reliability RFO are only posted on the webpage; there are no plans for SDG&E to post documents to event 99625 on PowerAdvocate. For all products, except ESSBOT and ESSEPC, the PowerAdvocate will only be used for respondents to submit their Offers.
Is the proforma ESSPPA available to review? | The ESSPPA pro forma is available on the RFO website.
Are respondents intending to submit a bid for a ESSPPA required to submit a confidentiality notice and agreement, and if so, but what date? | No, ESSPPA bids do not require the confidnetiality notice and agreement.
We would like to include an element of storage in our submission. Can you recommend a process how to proceed? Do I need to provide a redline of the Energy Storage PPA too? | Renewable+Storage (hybrid) projects should use the Energy Storage bid forms. The deadline for ESSPPA bids is February 7, while the deadline for ESSEPC and ESSBOT is determined by the Utility Development Team (January 21 at the time of the EPC/BOT RFO launch). For hybrid projects and assuming you are selling storage capacity, please indicate how the storage system will be charged and the characteristics of the renewable component of the project. The Energy Storage PPA is an appropriate document to redline for this type of project.
The RFO refers to the need to submit both a Project Description Form and an Offer Form. It appears the Project Description Form is just one of the tabs on the Offer Form spreadsheet. Does a separate document exist for the Project Description Form? | No separate Project Description Form exists. The proper Project Description Form is contained in the Offer Form.
Can bidders offer 12-year and 15-year PPA offers for a hybrid solar+storage project? The RFP as written seems to indicate that only 10-year offers are conforming and will be considered. | SDG&E prefers 10-year terms for non-EE and non-pre-existing facilities. However, offers exceeding 10-year term length are considered conforming.

## Q-Batch_01.03.20
Received week of 12/30/2019 | Posted:
Question(s) Received | Response
What are the details to the pre-bid conference/ bidder outreach event on January 10, 2020? | The SDG&E RFO team will be holding the IRP Reliability RFO pre-bidders webinar conference January 10, 2020 commencing at 9:00AM PPT. Please see RFO website for call-in instructions.
Would the following storage system project offers be considered for review for an ESSPPA project: A) 10 MW/40 MWh, B) 10 MW/30MWh? | Yes. Note that dispatch information must be provided in the Order Form. Inconsistency with RA requirements could result in the bid being tagged as non-conforming. See D.05-10-042 for information regarding CPUC RA rules.
Will SDG&E be posting a “Project Description Form” on the RFO website? It is required in the offer submittal, but did not see a particular form posted on the website. | The Project Description Form is contained as a single worksheet within the Offer Form Excel workbooks. Some of the Offer Form workbooks may require scrolling through the worksheets to the left or right to find the Project Description sheet.
Do the utility-owned storage bids (EPC and BOT), bids need to provide cost of collateral in submittals into the all-source RFO on Feb. 7? | No, the cost of collateral submittals, if applicable, for utility-owned storage projects will be addressed by the EPC/BOT bidder when submitted during the utility-owned storage RFO. No subsequent cost of collateral submittals will be necessary.

## Q-Batch_12.20.19
Received week of 12/16/2019 | Posted:
Question(s) Received | Response
What are the details to the pre-bid conference/ bidder outreach event on January 10, 2020? | The SDG&E RFO team will be holding the IRP Reliability RFO pre-bidders webinar conference January 10, 2020 commencing at 9:00AM PST. Please see RFO website for call-in instructions.
Will SDG&E accept bids for hybrid solar+storage projects? If so, which documents/bid offer forms should be submitted for hybrid resource offers? | Yes SDG&E is accepting offers for hybrid solar+storage. Please use the energy storage offer forms for in-front of the meter projects.
The RFO protocol states, "SDG&E will only be evaluating bids which include resource adequacy". That being said, will SDG&E consider bids from projects in development that are progressing through the CAISO GIDAP process (i.e. received their Phase II study results) that have requested FCDS, but have not yet received their deliverability allocation from the CAISO? | Yes, bids with pending FCDS will be considered. Bidders are encouraged to submit their position in the GIDAP Cluster Process, if applicable.
For new resources, is SDG&E only accepting bids with PPA tenors of 10 years? Can bidders offer longer PPA tenors (i.e. 15 and 20 years)? | New resource PPA durations vary dependent upon resource type. Energy Effeciency offers require a term of 5 years, while all other resource types require a term of 10 years. Bids for 10 years are preferred over bids for longer terms.
Section 7.0 of the Energy storage RFO protocols your document states “Limit on Number of Bids A MAXIMUM OF SIX (6) OFFERS PER RESPONDENT WILL BE ACCEPTED.” Does the 6 maximum offer apply to each EPC/BOT respondent? | Each Energy Storage respondent will be allowed up to 6 bids. The Utility Development Team is not considered a respondent to the RFO.
The RFP says SDG&E prefers projects located in local capacity areas, is there a quantitative factor applied to projects in an LCA versus a system RA project? | Yes.
Does SDG&E have a preference for projects located within its service territory? | SDG&E is soliciting offers from eligible facilities that interconnect within the CAISO balancing authority including dynamically scheduled or pseudo-tie arrangements) with a preference for SD-IV Local Area. However, Demand Response and Energy Efficiency bids must be in SDG&E service territory.
Does SDG&E have a preference for projects located within any specific local capacity areas? | Yes, the San Diego-Imperial Valley Local Area.
We are working on developing a wind project but it is about four more years before it could be COD, is it too early for us to participate in this RFO? | SDG&E endeavors to procure 50% of its apportioned capacity derived from the IRP Procurement Track Decision with deliveries by August 1, 2021. Furthermore, SDG&E is to cumulatively procure 75% and 100% of its requirement with deliveries by August 1, 2022 and August 1, 2023 respectively.