## All IOUs
From 20-04-13 PD Appendix Staff Proposal
Figure 7: Proposed DER Energy (GWh) Assumptions for No New DER Case
CAISO Sales Forecast Buildup |  | 2018 | 2020 | 2025 | 2030
Energy Efficiency (GWh)
| CEC 2018 IEPR ‐ Mid Mid AAEE | 1906 | 5930 | 17322 | 27940
| No New DER Case | 1906 | 1906 | 1906 | 1906
| Corrected No New DER Case [1] |  | 4692.8665 | 11378.786 | 13942.8404
Commited BTM PV
| CEC 2018 IEPR ‐ Mid PV + Mid‐Mid AAPV | 12439 | 16797 | 25446 | 32466
| No New DER Case | 12439 | 12439 | 12439 | 12439
Additional Achievable BTM PV
| CEC 2018 IEPR ‐ Mid PV + Mid‐Mid AAPV |  | 134 | 1441 | 2657
No New DER Case ‐ ‐ ‐ ‐
| Corrected No New DER Case [2] |  | 134 | 1441 | 2657
Behind‐the‐Meter CHP (GWh)
| CEC 2018 IEPR ‐ Mid Demand | 13594 | 13594 | 13594 | 13594
| No New DER Case | 13594 | 13594 | 13594 | 13594
Non‐PV Non‐CHP Self Generation (includes storage losses) (GWh)
| CEC 2018 IEPR ‐ Mid Demand | 764 | 751 | 716 | 681
| No New DER Case | 764 | 751 | 716 | 681
[1] | Energy Efficiency Value for 2020, 2025, and 2030 is increased to reflect the naturally occurring
e.g., 2020 value is increased by 69.3%, 2025 is increased by 61.4% and 2030 is increased by 46.2%
[2] | Additional Achieveable PV will occur in any case as a result of Title 24 requirements
Energy Efficiency Proposed Re-Estimation
From: California2019 Energy Efficiency Potential and Goals Study: Results Explorer
at: http://acp.analytica.com/acpbeta/shared/#dash/fca42209-b98d-4e83-852f-3d075f99ce9b
NET | Downloaded 5-27-20; Incremental Net; All;GWh; Reference Scenario (All = PG&E, SDG&E, SCE)
| Sector_plus | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| Ag | 43.1226 | 52.2116 | 54.4877 | 52.5673 | 49.4281 | 46.0055 | 43.3473 | 41.8236 | 41.8426 | 43.6402 | 48.0506
| Com | 225.5916 | 272.6778 | 285.8142 | 278.4348 | 285.948 | 287.6697 | 269.4801 | 267.7935 | 268.754 | 245.6158 | 252.6274
| Ind | 59.3355 | 58.817 | 57.3142 | 53.4352 | 53.3719 | 51.6325 | 50.644 | 50.2307 | 51.7243 | 55.2539 | 60.2246
| Min | 4.5782 | 4.4864 | 4.35 | 4.1944 | 4.033 | 3.8734 | 3.718 | 3.568 | 3.4251 | 3.2861 | 3.1526
| Res | 365.4338 | 412.3202 | 449.8055 | 472.1109 | 492.4738 | 514.3153 | 534.6966 | 554.9259 | 575.0649 | 596.1478 | 618.5202
| Stl | 0.1428 | 0.18552 | 0.24817 | 0.43326 | 0.63138 | 0.82877 | 1.0155 | 1.1851 | 1.335 | 1.4647 | 1.5748
| Low Income | 13.0692 | 14.4351 | 14.5149 | 14.8321 | 15.3132 | 15.7434 | 16.146 | 16.4393 | 16.7091 | 16.8318 | 16.4803
| C&S | 1464.4099 | 1454.5941 | 1424.6903 | 1428.8265 | 1357.3223 | 1308.5516 | 1217.1639 | 1130.6586 | 1013.7981 | 882.4857 | 749.828
GROSS | Downloaded 5-27-20; Incremental Gross; All;GWh; Reference Scenario (All = PG&E, SDG&E, SCE)
| Sector_plus | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| Ag | 64.9971 | 81.7661 | 86.0559 | 82.5774 | 76.7447 | 70.0447 | 64.2972 | 59.9878 | 57.7163 | 57.4852 | 60.0482
| Com | 317.9341 | 379.776 | 396.8901 | 385.3285 | 391.962 | 389.6767 | 361.2897 | 353.9709 | 350.4711 | 317.6225 | 322.789
| Ind | 65.1726 | 64.2751 | 62.1105 | 56.8506 | 56.7761 | 54.1376 | 52.3729 | 51.2195 | 52.3306 | 55.8673 | 60.6502
| Min | 5.7257 | 5.6109 | 5.4405 | 5.246 | 5.0442 | 4.8447 | 4.6504 | 4.4629 | 4.2842 | 4.1105 | 3.9436
| Res | 382.0787 | 436.0769 | 477.8115 | 500.4963 | 520.7782 | 542.6302 | 562.9538 | 582.9859 | 602.8773 | 623.6479 | 645.6323
| Stl | 0.15867 | 0.20613 | 0.27575 | 0.4814 | 0.70153 | 0.92086 | 1.1283 | 1.3168 | 1.4833 | 1.6275 | 1.7497
| Low Income | 13.0692 | 14.4351 | 14.5149 | 14.8321 | 15.3132 | 15.7434 | 16.146 | 16.4393 | 16.7091 | 16.8318 | 16.4803
| C&S | 1464.4099 | 1454.5941 | 1424.6903 | 1428.8265 | 1357.3223 | 1308.5516 | 1217.1639 | 1130.6586 | 1013.7981 | 882.4857 | 749.828
TOTAL GROSS LOAD |  | 2313.5461 | 2436.7404 | 2467.7894 | 2474.6389 | 2424.6422 | 2386.5497 | 2280.0022 | 2201.0417 | 2099.67 | 1959.6783 | 1861.1214
"naturally Occurring"
| Sector_plus | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| Ag | 21.8745 | 29.5545 | 31.5682 | 30.0102 | 27.3166 | 24.0392 | 20.9499 | 18.1642 | 15.8737 | 13.845 | 11.9976
| Com | 92.3425 | 107.0982 | 111.0759 | 106.8938 | 106.014 | 102.007 | 91.8096 | 86.1774 | 81.717 | 72.0067 | 70.1617
| Ind | 5.8372 | 5.4581 | 4.7963 | 3.4155 | 3.4042 | 2.5051 | 1.7289 | 0.98878 | 0.60625 | 0.61334 | 0.42561
| Min | 1.1475 | 1.1246 | 1.0905 | 1.0516 | 1.0112 | 0.9713 | 0.93242 | 0.89491 | 0.85918 | 0.82443 | 0.79104
| Res | 16.6449 | 23.7567 | 28.006 | 28.3853 | 28.3044 | 28.315 | 28.2573 | 28.06 | 27.8124 | 27.5001 | 27.1121
| Stl | 0.015867 | 0.020613 | 0.027575 | 0.04814 | 0.070153 | 0.092086 | 0.11283 | 0.13168 | 0.14833 | 0.16275 | 0.17497
| LI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| C&S | 1464.4099 | 1454.5941 | 1424.6903 | 1428.8265 | 1357.3223 | 1308.5516 | 1217.1639 | 1130.6586 | 1013.7981 | 882.4857 | 749.828
TOTAL Naturally Occurring |  | 1602.2724 | 1621.6067 | 1601.2548 | 1598.631 | 1523.4427 | 1466.4812 | 1360.9548 | 1265.0757 | 1140.815 | 997.4379 | 860.491
Percent of Gross Load that is Naturally Occuring |  | 69.26% | 66.55% | 64.89% | 64.6% | 62.83% | 61.45% | 59.69% | 57.48% | 54.33% | 50.9% | 46.24%