DATA REQUEST

Subject: Actual Historic Annual Load

- Please provide historic annual peak system demand data (in MW) for substations and feeders/local distribution (FLD) levels from 2005 – 2018.  Please provide the data in the same format as SDG&E’s excel sheet embedded in the response to Public Advocates Data Request #7, Question #1.

SDG&E Response:

SDG&E’s response to Question 1 contains confidential protected information that cannot be publicly disclosed.

  - Please describe why SDG&E normalizes distribution planning load for this analysis rather than use the load forecast accepted by the Commission in the last Phase II GRC.

SDG&E Response:

The data provided for both circuit and substation peak data is the actual coincident load recorded at the stated year’s peak date and time. The data is not normalized nor adjusted based on system conditions at the stated year’s peak date and time.

- Please provide the annual peak load reductions (in MW), reflected in the data requested in Question #1, that were caused by a) energy efficiency programs; and b) net energy metering.  Also provide this data separately at the substations and FLD levels.

SDG&E Response:

- In response to 2(a) please see accompanying file “CALPA DR-009, Q2(a)”.

- SDG&E’s response to Question 2(b) contains confidential protected information that cannot be publicly disclosed.

- SDG&E included an embedded excel file in response to Public Advocates Data Request #8, Question #3 (regarding Operations and Maintenance Costs).  Please provide the 2018 figures from FERC Form 1 and the Fixed Capital Report for Accounts 364, 365, 366, 367, 369.1, and 369.2 (found on the “O&M Allocators 5yrs” tab).  Please provide the 2018 figures from FERC Form 1 for Accounts 580, 581, 582, 583, 584, 585, 586, 587, 588, 589, 590, 591, 592, 593, 594, 595, 596, 597, 598 (found on the “O&M 5yrs” tab).

SDG&E Response:

Please see accompanying file “CALPA DR-09, Q3” that provides the 2018 FERC Account 364, 365, 366, 367, 369.1, 369.2, 580, 581, 582, 583, 584, 585, 586, 587, 588, 589, 590, 591, 592, 593, 594, 595, 596, 597, and 598 amounts.

Contact:

Greg Anderson

San Diego Gas & Electric

Regulatory Affairs

Office: (858) 654-1717

GAnderson@SempraUtilities.com