## Sheet1
OutageID | O_DURATIONMIN | Customer | Circuit | O_STARTDATETIME | Cause | Damaged Device | HFTD | Partial UG Work Date | Planned UG Work
200107E193809 | 33 | 710 | 1021 | 2020-01-07 13:49 | Personnel contact |  | Tier 2 | 2020-10-24 | N/A
200118E194762 | 622 | 981 | 234 | 2020-01-18 14:58 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
200131E195777 | 353 | 504 | 292 | 2020-01-31 10:47 | Conductor contact/failure/overload/wire slap | OH CONDUCTOR | Tier 2 | N/A | N/A
200313E199162 | 96 | 859 | 200 | 2020-03-13 14:04 | Crossarm failure/contact | CROSSARM | Tier 2 | N/A | N/A
200419E202117 | 94 | 2504 | 522 | 2020-04-19 20:17 | Vehicle contact |  | Tier 2 | N/A | N/A
200428E203042 | 68 | 119 | 1445 | 2020-04-28 14:14 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
200514E204560 | 859 | 2238 | 524 | 2020-05-14 03:23 | Faulted cable | UG CABLE | Tier 3 | N/A | 2028
200608E206793 | 131 | 2161 | 203 | 2020-06-08 21:19 | Undetermined |  | Tier 2 | N/A | N/A
200615E207344 | 551 | 1763 | 799 | 2020-06-15 20:24 | Faulted cable | UG CABLE | Tier 2 | N/A | N/A
200628E208446 | 430 | 1006 | 907 | 2020-06-28 22:06 | Vehicle contact | POLE | Tier 2 | N/A | 2032
200805E211694 | 89 | 3172 | 500 | 2020-08-05 20:18 | Faulted cable | UG CABLE | Tier 2 | N/A | N/A
200812E212216 | 369 | 1068 | 1105 | 2020-08-12 22:15 | Switch failure/contact | SWITCH | Tier 2 | N/A | 2032
200831E213842 | 95 | 1047 | 470 | 2020-08-31 13:44 | Heavy equipment contact/dig-in | OH CONDUCTOR | Tier 2 | N/A | N/A
200907E214616 | 133 | 1664 | 989 | 2020-09-07 12:36 | Undetermined (severe weather) | UG CABLE | Tier 2 | N/A | N/A
200912E214983 | 90 | 1046 | 470 | 2020-09-12 05:30 | Arrester failure | LIGHTNING ARRESTER | Tier 2 | N/A | N/A
200917E215418 | 181 | 212 | 210 | 2020-09-17 13:25 | SDG&E contractor vehicle contact | OH CONDUCTOR | Tier 2 | N/A | 2031
200922E215840 | 17 | 1530 | 1234 | 2020-09-22 22:01 | Undetermined |  | Tier 3 | N/A | N/A
201012E217440 | 308 | 1001 | 1250 | 2020-10-12 06:02 | Arrester failure | LIGHTNING ARRESTER | Tier 2 | N/A | 2032
201025E218680 | 14 | 1508 | 353 | 2020-10-25 09:59 | Disconnect Failure | LINE DISC | Tier 2 | N/A | N/A
201026E218717 | 469 | 1553 | 1234 | 2020-10-26 08:51 | Public Safety Power Shutoff (PSPS) |  | Tier 3 | N/A | N/A
201121E221078 | 53 | 2450 | 599 | 2020-11-21 10:40 | Conductor contact/failure/overload/wire slap | OH CONDUCTOR | Tier 2 | N/A | N/A
201124E221182 | 6 | 1019 | 247 | 2020-11-24 09:18 | Balloon contact | SWITCH | Tier 3 | N/A | N/A
201202E221620 | 2550 | 60 | 1166 | 2020-12-02 20:15 | Public Safety Power Shutoff (PSPS) |  | Tier 3 | N/A | 2031
201202E221621 | 2580 | 459 | 283 | 2020-12-02 20:15 | Public Safety Power Shutoff (PSPS) | CUTOUT | Tier 3 | N/A | 2032
201202E221633 | 2544 | 1504 | 355 | 2020-12-02 21:00 | Public Safety Power Shutoff (PSPS) |  | Tier 2 | N/A | 2031
201202E221648 | 1180 | 1000 | 1250 | 2020-12-02 22:02 | Public Safety Power Shutoff (PSPS) |  | Tier 2 | N/A | 2032
201202E221655 | 1262 | 898 | 1138 | 2020-12-02 22:17 | Public Safety Power Shutoff (PSPS) | CROSSARM | Tier 2 | N/A | N/A
201202E221657 | 2023 | 614 | 1101 | 2020-12-02 22:20 | Public Safety Power Shutoff (PSPS) |  | Tier 2 | N/A | N/A
201202E221666 | 2239 | 366 | 351 | 2020-12-02 22:49 | Public Safety Power Shutoff (PSPS) | MISC EQUIPMENT | Tier 2 | N/A | N/A
201203E221691 | 1695 | 4 | 327 | 2020-12-03 04:03 | Public Safety Power Shutoff (PSPS) |  | Tier 3 | N/A | N/A
201203E221701 | 726 | 2993 | 231 | 2020-12-03 05:23 | Public Safety Power Shutoff (PSPS) |  | Tier 2 | N/A | N/A
201207E222039 | 873 | 60 | 1166 | 2020-12-07 18:48 | Public Safety Power Shutoff (PSPS) |  | Tier 3 | N/A | 2031
201209E222180 | 328 | 3013 | 501 | 2020-12-09 13:32 | Transformer (station) failure/contact | TRANSFORMER | Tier 2 | N/A | N/A
201223E223010 | 854 | 322 | 1166 | 2020-12-23 21:51 | Public Safety Power Shutoff (PSPS) |  | Tier 3 | N/A | 2031
201223E223011 | 802 | 460 | 283 | 2020-12-23 21:53 | Public Safety Power Shutoff (PSPS) |  | Tier 3 | N/A | 2032
201224E223023 | 669 | 1765 | 908 | 2020-12-24 01:20 | Public Safety Power Shutoff (PSPS) |  | Tier 2 | 2022-07-20 | 2032
201224E223024 | 736 | 882 | 214 | 2020-12-24 02:07 | Public Safety Power Shutoff (PSPS) |  | Tier 3 | N/A | 2030
210104E223322 | 67 | 3000 | 231 | 2021-01-04 14:34 | Vehicle contact | OH CONDUCTOR | Tier 2 | N/A | N/A
210109E223706 | 119 | 3449 | 462 | 2021-01-09 10:46 | Protection misoperation (UFO, settings, fuse miscoordination) | UFLD RELAY | Tier 2 | N/A | N/A
210128E225277 | 367 | 4 | 1247 | 2021-01-28 23:29 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
210130E225352 | 164 | 134 | RA2 | 2021-01-30 15:20 | Undetermined |  | Tier 2 | N/A | N/A
210203E225570 | 141 | 1668 | 985 | 2021-02-03 02:28 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
210205E225913 | 1010 | 2450 | 599 | 2021-02-05 22:34 | Vehicle contact | POLE | Tier 2 | N/A | N/A
210209E226145 | 132 | 3000 | 231 | 2021-02-09 17:31 | Undetermined |  | Tier 2 | N/A | N/A
210217E226630 | 80 | 1713 | 980 | 2021-02-17 02:16 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
210227E227543 | 586 | 1297 | 315 | 2021-02-27 20:29 | Faulted cable | UG CABLE | Tier 2 | N/A | N/A
210324E229410 | 1037 | 1105 | 442 | 2021-03-24 04:18 | Faulted cable | UG CABLE | Tier 3 | N/A | 2032
210325E229638 | 620 | 1072 | 1090 | 2021-03-25 21:28 | Vehicle contact | SWITCH | Tier 3 | N/A | N/A
210410E231100 | 468 | 1024 | 907 | 2021-04-10 01:17 | Vehicle contact | TERMINATOR | Tier 3 | N/A | 2032
210510E233176 | 72 | 2498 | 754 | 2021-05-10 17:14 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
210604E234880 | 269 | 2760 | 970 | 2021-06-04 01:17 | Tee failure | TEE (DEAD BREAK) | Tier 3 | N/A | 2032
210611E235524 | 572 | 2129 | 433 | 2021-06-11 23:40 | Vehicle contact | TERMINATOR | Tier 2 | N/A | N/A
210613E235540 | 8 | 2185 | 523 | 2021-06-13 01:12 | Vehicle contact | POLE | Tier 2 | N/A | N/A
210613E235545 | 41 | 1268 | 236 | 2021-06-13 11:45 | Balloon contact | POLE | Tier 2 | N/A | 2029
210623E236388 | 806 | 52 | 319 | 2021-06-23 12:12 | Faulted cable | UG CABLE | Tier 2 | N/A | N/A
210705E237157 | 127 | 634 | 212 | 2021-07-05 08:06 | Balloon contact | OH CONDUCTOR | Tier 2 | N/A | 2027
210706E237245 | 723 | 6774 | 330 | 2021-07-06 14:04 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
210715E237971 | 152 | 1125 | 1023 | 2021-07-15 16:36 | Vehicle contact | TRANSFORMER | Tier 2 | N/A | N/A
210726E238740 | 350 | 2511 | 522 | 2021-07-26 05:55 | Transformer (station) failure/contact | TRANSFORMER | Tier 2 | N/A | N/A
210806E239765 | 368 | 1028 | 240 | 2021-08-06 15:24 | Vehicle contact | POLE | Tier 3 | N/A | N/A
210811E240024 | 6 | 1679 | 356 | 2021-08-11 02:45 | Lightning/arrester/xfmr failure (severe weather) |  | Tier 2 | N/A | 2032
210825E241106 | 40 | 1 | 975 | 2021-08-25 16:25 | OH connector failure (jumper/splice/squeeze-on) | JUMPER | Tier 2 | N/A | 2032
210829E241354 | 8 | 1386 | 970 | 2021-08-29 14:55 | Lightning/arrester/xfmr failure (severe weather) |  | Tier 2 | N/A | 2032
210904E241841 | 233 | 2098 | 235 | 2021-09-04 16:56 | Balloon contact | OH CONDUCTOR | Tier 2 | N/A | 2032
210910E242254 | 395 | 532 | 1446 | 2021-09-10 19:42 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
211004E243982 | 416 | 1029 | 240 | 2021-10-04 18:30 | Lightning/arrester/xfmr failure (severe weather) | TRANSFORMER | Tier 2 | N/A | N/A
211004E244002 | 71 | 1010 | 300 | 2021-10-04 19:27 | Lightning/arrester/xfmr failure (severe weather) |  | Tier 2 | N/A | N/A
211005E244055 | 511 | 1030 | 240 | 2021-10-05 03:04 | Wire slap/pole down/wire down (severe weather) | OH CONDUCTOR | Tier 2 | N/A | N/A
211020E245296 | 435 | 1907 | 357 | 2021-10-20 06:15 | Faulted cable | UG CABLE | Tier 2 | N/A | 2031
211020E245348 | 50 | 1639 | 1234 | 2021-10-20 10:35 | Customer trouble/request | OH CONDUCTOR | Tier 3 | N/A | N/A
211022E245583 | 353 | 984 | 234 | 2021-10-22 22:09 | Transformer (station) failure/contact | TRANSFORMER | Tier 2 | N/A | N/A
211029E246015 | 11 | 967 | 445 | 2021-10-29 16:52 | Insulator/pin failure | INSULATOR | Tier 2 | 2022-03-12 | 2032
211105E246489 | 52 | 134 | RA2 | 2021-11-05 09:08 | Undetermined |  | Tier 2 | N/A | N/A
211116E247177 | 75 | 3216 | 912 | 2021-11-16 14:28 | Heavy equipment contact/dig-in | UG CABLE | Tier 2 | N/A | N/A
211123E247624 | 552 | 3556 | 960 | 2021-11-23 15:53 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
220102E249776 | 102 | 614 | 1101 | 2022-01-02 05:09 | Faulted cable | UG CABLE | Tier 2 | N/A | N/A
220128E251598 | 126 | 1 | 463 | 2022-01-28 10:43 | Deenergized for safety |  | Tier 2 | N/A | N/A
220131E251813 | 1377 | 6 | 540 | 2022-01-31 19:16 | Customer trouble/request | CUSTOMER EQUIPMENT | Tier 2 | N/A | N/A
220208E252443 | 63 | 2113 | 542 | 2022-02-08 20:52 | Faulted cable | UG CABLE | Tier 2 | N/A | N/A
220210E252545 | 252 | 1731 | 980 | 2022-02-10 04:14 | Bird contact | CAP BANK | Tier 2 | N/A | N/A
220215E253044 | 1082 | 1450 | 91 | 2022-02-15 22:19 | Lightning/arrester/xfmr failure (severe weather) | TRANSFORMER | Tier 2 | N/A | N/A
220219E253322 | 116 | 2367 | 990 | 2022-02-19 21:26 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
220225E253629 | 459 | 1613 | 387 | 2022-02-25 06:35 | Transformer (station) failure/contact | TRANSFORMER | Tier 2 | N/A | N/A
220303E254118 | 655 | 159 | 536 | 2022-03-03 08:46 | Heavy equipment contact/dig-in | UG CABLE | Tier 2 | N/A | N/A
220326E255915 | 323 | 185 | 770 | 2022-03-26 23:28 | Animal contact | CUSTOMER EQUIPMENT | Tier 2 | N/A | N/A
220331E256321 | 704 | 977 | 232 | 2022-03-31 18:26 | Vehicle contact | UG CABLE | Tier 2 | N/A | N/A
220425E258194 | 1087 | 2516 | 522 | 2022-04-25 21:24 | Vehicle contact | UG CABLE | Tier 2 | N/A | N/A
220518E259803 | 11 | 349 | 252 | 2022-05-18 09:41 | Pole - contact/damage/broke/rotted/on fire | POLE | Tier 2 | N/A | N/A
220522E260062 | 178 | 134 | RA2 | 2022-05-22 08:30 | Foreign object | OH CONDUCTOR | Tier 2 | N/A | N/A
220530E260542 | 83 | 1726 | 980 | 2022-05-30 03:34 | Tee failure | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
220530E260563 | 428 | 534 | 1257 | 2022-05-30 15:46 | UG connector failure (splice/rack/tap/shoofly/sleeve/probe/LBE/bushing) | TEE (DEAD BREAK) | Tier 2 | N/A | N/A
220531E260646 | 137 | 2997 | 231 | 2022-05-31 18:07 | Bird contact | TRANSFORMER | Tier 2 | N/A | N/A
220617E262028 | 477 | 522 | 1446 | 2022-06-17 09:38 | Faulted cable | Cable, Primary UG | Tier 2 | N/A | N/A
220708E263315 | 15 | 4 | 440 | 2022-07-08 07:42 | Switching/mapping error/tagged incorrectly |  | Tier 3 | N/A | 2032
220808E265501 | 293 | 2997 | 231 | 2022-08-08 08:36 | Conductor contact/failure/overload/wire slap | Conductor, OH | Tier 2 | N/A | N/A
220817E266275 | 154 | 1396 | 971 | 2022-08-17 13:58 | Undetermined | None | Tier 2 | N/A | 2032
220902E267544 | 27 | 2458 | 599 | 2022-09-02 17:04 | Balloon contact | Conductor, OH | Tier 2 | N/A | N/A
220908E268024 | 147 | 550 | 968 | 2022-09-08 15:37 | Faulted cable | Cable, Primary UG | Tier 2 | N/A | N/A
220909E268045 | 988 | 1845 | 1039 | 2022-09-09 04:37 | Tree/branch or palm trunk fell on line or equipment (severe weather) | Conductor, OH | Tier 2 | N/A | N/A
220909E268088 | 393 | 2027 | 197 | 2022-09-09 09:09 | Foreign object (severe weather) | Conductor, OH | Tier 2 | N/A | N/A
220909E268153 | 410 | 1046 | 470 | 2022-09-09 14:57 | Transformer (station) failure/contact | TRANSFORMER | Tier 2 | N/A | N/A
221021E271233 | 6 | 102 | 533 | 2022-10-21 15:42 | Vehicle contact | POLE | Tier 2 | N/A | N/A
221121E273338 | 8 | 3056 | 308 | 2022-11-21 02:28 | Undetermined | None | Tier 2 | N/A | N/A
221124E273538 | 216 | 1277 | 236 | 2022-11-24 12:34 | Undetermined (severe weather) | None | Tier 2 | N/A | 2029
221201E273855 | 27 | 2466 | 520 | 2022-12-01 09:31 | Undetermined | None | Tier 2 | N/A | 2032
221210E274497 | 344 | 1826 | 1250 | 2022-12-10 09:37 | Vehicle contact | Cross Arm | Tier 2 | N/A | 2032