## Level 1 - Transmission
Work Order Number | Asset Type (Overhead, Underground) | Line Type (Transmission, Distribution-Primary, Distribution-Secondary) | SDGE Tag Priority | Longitude | Lattitude | Location (Division) | Date created / found | Completion Date (If Applicable) | Method found (Inspection, normal order of work, Storm work) | GO 95 Required Compliance Date, | Location (HFTD, HFRA (Non-HFTD), Non HFTD/Non HFRA)), | Segment ID | Circuit ID | Wire down Event ID (If Applicable) | Outage event ID (If Applicable) | Last maintanance date (If Applicable) | OutageID QDR | Facility Damage Action (FDA) | Cause / Notes | Explanation for a non-immediate repair. If repair took longer than 1 day to complete, explain reason why.
137951 | Overhead | Transmission | Level 1 | -117.0497 | 33.1091 | Northeast | 2025-02-10 |  | Inspection | 2025-03-12 | Non-HFTD | N/A | 681 |  |  | 2025-02-10 |  |  | Comm Cable - Assessment Required | On hold due to issue on telecommunication cable

## Level 1 - Distribution
Work Order Number | Asset Type (Overhead, Underground) | Line Type (Transmission, Distribution-Primary, Distribution-Secondary) | SDGE Tag Priority | Longitude | Lattitude | Location (Division) | Date created / found | Completion Date (If Applicable) | Method found (Inspection, normal order of work, Storm work) | GO 95 Required Compliance Date, | Location (HFTD, HFRA (Non-HFTD), Non HFTD/Non HFRA)), | Segment ID | Circuit ID | Wire down Event ID (If Applicable) | Outage event ID (If Applicable) | Last maintanance date (If Applicable) | OutageID QDR | Facility Damage Action (FDA) | Cause / Notes | Explanation for a non-immediate repair. If repair took longer than 1 day to complete, explain reason why.
100017578930 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2521 | 33.3662 | Northeast | 2020-02-19 | 2020-02-19 | Inspection | 2020-03-20 | Tier 2 | ['CB 232'] | ['232'] |  |  | 2020-02-19 |  |  | Damaged Crossarm
100024343980 | Overhead | ['Distribution-Primary'] | Level 1 | -117.1895 | 33.3878 | Northeast | 2023-08-14 | 2023-08-14 | Inspection | 2023-09-13 | Tier 2 | ['521-18R'] | ['521'] |  |  | 2023-08-14 |  |  | SDG&E Pole/ Stub Pole Damaged or Broken
100021409317 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2579 | 33.3729 | Northeast | 2022-02-23 | 2022-02-23 | Inspection | 2022-03-25 | Tier 2 | ['523-31AE'] | ['523'] |  |  | 2022-02-23 |  |  | SDG&E Pole/ Stub Pole Damaged or Broken
100021409316 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2579 | 33.3729 | Northeast | 2022-02-23 | 2022-02-23 | Inspection | 2022-03-25 | Tier 2 | ['523-31AE'] | ['523'] |  |  | 2022-02-23 |  |  | SDG&E Leaning Pole or Potential Overload
100021769375 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9261 | 32.8798 | Eastern | 2022-04-19 | 2022-04-20 | Inspection | 2022-05-19 | Tier 2 | ['242-1426F'] | ['242'] |  |  | 2022-04-19 |  |  | SDG&E Insufficient Clearance
100021769374 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9261 | 32.8798 | Eastern | 2022-04-19 | 2022-04-19 | Inspection | 2022-05-19 | Tier 2 | ['242-1426F'] | ['242'] |  |  | 2022-04-19 |  |  | Damaged Crossarm
100021769376 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9261 | 32.8798 | Eastern | 2022-04-19 | 2022-04-20 | Inspection | 2022-05-19 | Tier 2 | ['242-1426F'] | ['242'] |  |  | 2022-04-19 |  |  | Damaged Crossarm
100023985822 | Overhead | ['Distribution-Primary'] | Level 1 | -116.8065 | 32.7168 | Eastern | 2023-06-06 | 2023-06-07 | Inspection | 2023-07-06 | Tier 3 | ['524-50R'] | ['524'] |  |  | 2023-06-06 |  |  | Infraction - No Applicable Code
100024116016 | Overhead | ['Distribution-Primary'] | Level 1 | -116.8336 | 32.8172 | Eastern | 2023-06-29 | 2023-06-30 | Inspection | 2023-07-29 | Tier 3 | ['356-30AE'] | ['356'] |  |  | 2023-06-29 |  |  | Damaged Crossarm
100024368794 | Overhead | ['Distribution-Primary'] | Level 1 | -117.5395 | 33.3929 | Orange County | 2023-08-18 | 2023-08-18 | Inspection | 2023-09-17 | Tier 2 | ['204-32R'] | ['204'] |  |  | 2023-08-18 |  |  | Damaged Arrestor/Insulator/Dead-end
100023848365 | Overhead | ['Distribution-Primary'] | Level 1 | -117.0725 | 33.23 | Northeast | 2023-05-15 | 2023-05-15 | Inspection | 2023-06-14 | Tier 2 | ['351-871R'] | ['351'] |  |  | 2023-05-15 |  |  | Damaged/Missing Pole Hardware
100023975455 | Overhead | ['Distribution-Primary'] | Level 1 | -116.6088 | 33.1068 | Northeast | 2023-06-05 | 2023-06-06 | Inspection | 2023-07-05 | Tier 3 | ['221-344R'] | ['221'] |  |  | 2023-06-05 |  |  | Damaged Crossarm
100024201238 | Overhead | ['Distribution-Primary'] | Level 1 | -116.7916 | 33.0809 | Northeast | 2023-07-19 | 2023-07-20 | Inspection | 2023-08-18 | Tier 3 | ['237-30R'] | ['237'] |  |  | 2023-07-19 |  |  | Damaged Arrestor/Insulator/Dead-end
100023820104 | Overhead | ['Distribution-Secondary'] | Level 1 | -117.0324 | 33.2467 | Northeast | 2023-05-09 | 2023-05-09 | Inspection | 2023-06-08 | Tier 2 | ['908-1236'] | ['908'] |  |  | 2023-05-09 |  |  | Damaged/Missing Pole Hardware
100023820086 | Overhead | ['Distribution-Secondary'] | Level 1 | -117.0353 | 33.2713 | Northeast | 2023-05-09 | 2023-05-09 | Inspection | 2023-06-08 | Tier 2 | ['908-1172R'] | ['908'] |  |  | 2023-05-09 |  |  | Private Property Hazardous Condition
100024147568 | Overhead | ['Distribution-Primary'] | Level 1 | -116.8691 | 32.7392 | Eastern | 2023-07-07 | 2023-07-07 | Inspection | 2023-08-06 | Tier 3 | ['524-1782F'] | ['524'] |  |  | 2023-07-07 |  |  | Damaged Crossarm
100017873632 | Overhead | ['Distribution-Primary'] | Level 1 | -116.748 | 32.8381 | Eastern | 2020-04-14 | 2020-04-16 | Inspection | 2020-05-14 | Tier 2 | ['357-1147R'] | ['357'] |  |  | 2020-04-14 |  |  | Infraction - No Applicable Code | SDG&E complies with GO 95, Rule 18, which requires Level 1 corrective actions within 30 days. No additional details are available to support the 2-day remediation timeline.
100023531377 | Overhead | ['Distribution-Secondary'] | Level 1 | -116.165 | 32.6345 | Eastern | 2023-03-17 | 2023-03-17 | Inspection | 2023-04-16 | Tier 2 | ['444-9R'] | ['444'] |  |  | 2023-03-17 |  |  | Damaged Conductors
100028012983 | Overhead | ['Distribution-Primary'] | Level 1 | -116.6473 | 32.6296 | Eastern | 2025-09-05 | 2025-09-05 | Inspection | 2025-10-05 | Tier 3 | ['157-232R'] | ['157'] |  |  | 2025-09-05 |  |  | Damaged Crossarm
100028025676 | Overhead | ['Distribution-Primary'] | Level 1 | -116.3298 | 32.7446 | Eastern | 2025-09-11 | 2025-09-12 | Inspection | 2025-10-11 | Tier 3 | ['1215-32R'] | ['1215'] |  |  | 2025-09-11 |  |  | Damaged Crossarm
100017357403 | Overhead | ['Distribution-Primary'] | Level 1 | -116.7664 | 32.7651 | Eastern | 2020-01-09 | 2020-01-09 | Inspection | 2020-02-08 | Tier 3 | ['524-69R'] | ['524'] |  |  | 2020-01-09 |  |  | Damaged Crossarm
100017433323 | Overhead | ['Distribution-Primary'] | Level 1 | -116.865 | 32.8525 | Eastern | 2020-01-24 | 2020-01-24 | Inspection | 2020-02-23 | Tier 2 | ['246-34R'] | ['246'] |  |  | 2020-01-24 |  |  | Damaged Arrestor/Insulator/Dead-end
100019720249 | Overhead | N/A | Level 1 | -116.931 | 32.8886 | Eastern | 2021-04-22 | 2021-04-23 | Inspection | 2021-05-22 | Tier 2 | N/A | N/A |  |  | 2021-04-22 |  |  | Restoration Rejected, Replace
100025517315 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9785 | 33.2171 | Northeast | 2024-02-14 | 2024-02-15 | Inspection | 2024-03-15 | Tier 3 | ['1030-42R'] | ['1030'] |  |  | 2024-02-14 |  |  | SDG&E Pole/ Stub Pole Damaged or Broken
100023177888 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9655 | 33.3031 | Northeast | 2023-01-09 | 2023-01-10 | Inspection | 2023-02-08 | Tier 3 | ['217-837R'] | ['217'] |  |  | 2023-01-09 |  |  | Private Property Hazardous Condition
100026049941 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9839 | 33.2571 | Northeast | 2024-05-21 | 2024-05-22 | Inspection | 2024-06-20 | Tier 2 | ['215-1534R'] | ['215'] |  |  | 2024-05-21 |  |  | Damaged Crossarm
100026456005 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2312 | 33.3763 | Northeast | 2024-08-09 | 2024-08-09 | Inspection | 2024-09-08 | Tier 2 | ['CB 522'] | ['522'] |  |  | 2024-08-09 |  |  | Damaged Crossarm
100017981030 | Overhead | ['Distribution-Secondary'] | Level 1 | -117.1631 | 33.0912 | Northeast | 2020-05-01 | 2020-05-01 | Inspection | 2020-05-31 | Tier 2 | ['597-595'] | ['597'] |  |  | 2020-05-01 |  |  | Damaged/Missing Pole Hardware
100017913070 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9492 | 32.8936 | Eastern | 2020-04-23 | 2020-04-23 | Inspection | 2020-05-23 | Tier 2 | ['1138-6R'] | ['1138'] |  |  | 2020-04-23 |  |  | Damaged Crossarm
100018484082 | Overhead | ['Distribution-Primary'] | Level 1 | -117.5806 | 33.429 | Orange County | 2020-08-06 | 2020-08-07 | Inspection | 2020-09-05 | Tier 2 | ['CB 204'] | ['204'] |  |  | 2020-08-06 |  |  | Damaged Crossarm
100027719424 | Overhead | ['Distribution-Primary'] | Level 1 | -116.8589 | 33.0659 | Northeast | 2025-06-10 | 2025-06-10 | Inspection | 2025-07-10 | Tier 2 | ['236-1569R'] | ['236'] |  |  | 2025-06-10 |  |  | Damaged Crossarm
100026523843 | Overhead | ['Distribution-Primary'] | Level 1 | -116.932 | 32.6018 | Metro | 2024-08-27 | 2024-08-27 | Inspection | 2024-09-26 | Tier 2 | ['463-1229'] | ['463'] |  |  | 2024-08-27 |  |  | Damaged Crossarm
100022102508 | Overhead | ['Distribution-Primary'] | Level 1 | -116.8636 | 32.8132 | Eastern | 2022-07-06 | 2022-07-06 | Inspection | 2022-08-05 | Tier 2 | ['411-30R'] | ['411'] |  |  | 2022-07-06 |  |  | Damaged Crossarm
100022515844 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9954 | 32.5931 | Metro | 2022-09-15 | 2022-09-18 | Inspection | 2022-10-15 | Tier 2 | ['463-1229'] | ['463'] |  |  | 2022-09-15 |  |  | Foreign Objects | Birds nest - environmental review
100024288850 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2282 | 33.2824 | Northeast | 2023-08-01 | 2023-08-02 | Inspection | 2023-08-31 | Tier 2 | ['233-41R'] | ['233'] |  |  | 2023-08-01 |  |  | Private Property Hazardous Condition
100022148001 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2269 | 33.3031 | Northeast | 2022-07-20 | 2022-07-20 | Inspection | 2022-08-19 | Tier 2 | ['CB 233'] | ['233'] |  |  | 2022-07-20 |  |  | Infraction - No Applicable Code
100026653539 | Overhead | ['Distribution-Primary'] | Level 1 | -116.7884 | 32.7061 | Eastern | 2024-10-01 | 2024-10-01 | Inspection | 2024-10-31 | Tier 3 | ['157-81R'] | ['157'] |  |  | 2024-10-01 |  |  | Damaged Conductors
100023983080 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9868 | 33.3158 | Northeast | 2023-06-02 | 2023-06-02 | Inspection | 2023-07-02 | Tier 2 | ['217-41AE'] | ['217'] |  |  | 2023-06-02 |  |  | Damaged/Missing Pole Hardware
100023957192 | Overhead | ['Distribution-Primary'] | Level 1 | -117.1052 | 33.2678 | Northeast | 2023-06-01 | 2023-06-02 | Inspection | 2023-06-30 | Tier 2 | ['350-2192R'] | ['350'] |  |  | 2023-06-01 |  |  | Damaged/Missing Pole Hardware
100023973371 | Overhead | ['Distribution-Secondary'] | Level 1 | -116.8717 | 33.3604 | Northeast | 2023-06-02 | 2023-06-02 | Inspection | 2023-07-02 | Tier 3 | ['214-17AE'] | ['214'] |  |  | 2023-06-02 |  |  | Private Property Hazardous Condition
100024070640 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2002 | 33.0129 | North Coast | 2023-06-22 | 2023-06-22 | Inspection | 2023-07-22 | Non-HFTD | ['CB 306'] | ['306'] |  |  | 2023-06-22 |  |  | Foreign Objects
100024070639 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2002 | 33.0129 | North Coast | 2023-06-22 | 2023-06-22 | Inspection | 2023-07-22 | Non-HFTD | ['CB 306'] | ['306'] |  |  | 2023-06-22 |  |  | Damaged/Missing Pole Hardware
100024028116 | Overhead | ['Distribution-Primary'] | Level 1 | -117.2306 | 33.0071 | North Coast | 2023-06-15 | 2023-06-15 | Inspection | 2023-07-15 | Non-HFTD | ['66-1213R'] | ['66'] |  |  | 2023-06-15 |  |  | Infraction - No Applicable Code
100026914322 | Overhead | ['Distribution-Primary'] | Level 1 | -117.0244 | 33.2048 | Northeast | 2024-12-03 | 2024-12-04 | Inspection | 2025-01-02 | Tier 3 | ['907-1702R'] | ['907'] |  |  | 2024-12-03 |  |  | Open/Damaged Ground
100026935311 | Overhead | ['Distribution-Primary'] | Level 1 | -116.8633 | 33.0767 | Northeast | 2024-12-10 | 2024-12-11 | Inspection | 2025-01-09 | Tier 3 | ['236-1573R'] | ['236'] |  |  | 2024-12-10 |  |  | Damaged Crossarm
100026929300 | Overhead | ['Distribution-Primary'] | Level 1 | -116.8779 | 33.0549 | Northeast | 2024-12-09 | 2024-12-10 | Inspection | 2025-01-08 | Tier 3 | ['236-1535R'] | ['236'] |  |  | 2024-12-09 |  |  | Damaged Crossarm
100026812838 | Overhead | ['Distribution-Primary'] | Level 1 | -117.1188 | 33.1978 | Northeast | 2024-11-15 | 2024-11-15 | Inspection | 2024-12-15 | Tier 2 | ['353-593F'] | ['353'] |  |  | 2024-11-15 |  |  | Damaged Crossarm
100026885045 | Overhead | ['Distribution-Primary'] | Level 1 | -116.3845 | 32.6481 | Eastern | 2024-11-27 | 2024-11-27 | Inspection | 2024-12-27 | Tier 2 | ['445-18R'] | ['445'] |  |  | 2024-11-27 |  |  | Damaged Crossarm
100026804282 | Overhead | ['Distribution-Primary'] | Level 1 | -116.9599 | 33.0003 | Northeast | 2024-11-13 | 2024-11-13 | Inspection | 2024-12-13 | Tier 3 | ['176-161R'] | ['176'] |  |  | 2024-11-13 |  |  | Damaged Crossarm
100026607745 | Overhead | ['Distribution-Primary'] | Level 1 | -116.8164 | 32.7117 | Eastern | 2024-09-20 | 2024-09-20 | Inspection | 2024-10-20 | Tier 3 | ['524-50R'] | ['524'] |  |  | 2024-09-20 |  |  | Private Property Hazardous Condition
100026777931 | Overhead | ['Distribution-Primary'] | Level 1 | -116.7313 | 32.7918 | Eastern | 2024-11-05 | 2024-11-05 | Inspection | 2024-12-05 | Tier 3 | ['1166-342R'] | ['1166'] |  |  | 2024-11-05 |  |  | Damaged Crossarm
100023957375 | Overhead | ['Distribution-Primary'] | Level 1 | -117.0988 | 33.2668 | Northeast | 2023-06-01 | 2023-06-02 | Inspection | 2023-06-30 | Tier 2 | ['350-2192R'] | ['350'] |  |  | 2023-06-01 |  |  | Damaged/Missing Pole Hardware